## Order
Scenario 3
Local Supply Rates + Installation Rates | [24 empty] | 3200000
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY | RATE (can be entered directly or summed up for totals)
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Local supply rate | [5 empty] | Installation Rate |  |  |  | Amount
[13 empty] | Basic Rate | Excise | Subtotal = Basic + Excise | VAT/CST on Subtotal | Others | Supply Rate Total (sum or direct entry) | Basic Rate | Service Tax | Other | Installation Rate Total (sum or direct entry) | LOCAL SUPPLY AMOUNT | INSTALLATION AMOUNT | TOTAL AMOUNT
I | 508000000 | MOVING BED BIO REACTOR (MBBR) SYSTEM: | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A. | 508000000 | SEWAGE TREATMENT PLANT ( MOVING BED BIO REACTOR ) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 508000000 | Design, supplying, installing, testing & commissioning of Sewage Treatment Plant (excluding excavation, back filling & disposal of surplus earth Civil construction work) for the following duty: | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Daily average flow - 200 Cum / Day | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Pre-treatment for Laundry & Kitchen effluents | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 508000000 | Supply, installation, testing & commissioning of 2 Nos SS Coarse & Fine Perforated Screens | [8 empty] | Set | 1 | 15000 | 0 | 15000 | 0 | 0 | 15000 | 1000 | 0 | 0 | 1000 | 15000 | 1000 | 16000
1.2 | 508000000 | Supply of MS hot dip galvanized puddle flanges in accordance to BS:10 table D; under the supervision of the STP contractor | [8 empty] | L/S | 0 | 32000 | 0 | 32000 | 0 | 0 | 32000 | 1500 | 0 | 0 | 1500 | 0 | 0 | 0
1.3 | 508000000 | Supply of plastic manhole step/foot rest (@ 300 mm c/C) with polypropelene compound injection molded around 12 mm dia (Fe-415) steel reinforcing bar. | [8 empty] | Nos. | 0 | 110 | 0 | 110 | 0 | 0 | 110 | 25 | 0 | 0 | 25 | 0 | 0 | 0
1.4 | 508000000 | Supply, installation, testing & commissioning of CI medium duty rectangular manhole cover with frame for the feasibility of access in the tank | [8 empty] | Nos. | 0 | 5000 | 0 | 5000 | 0 | 0 | 5000 | 2000 | 0 | 0 | 2000 | 0 | 0 | 0
1.5 | 508000000 | Supply of vent pipes of 100 mm dia with mosquito proof grating | [8 empty] | Nos. | 0 | 3200 | 0 | 3200 | 0 | 0 | 3200 | 1000 | 0 | 0 | 1000 | 0 | 0 | 0
1.6 | 508000000 | Supply, installation, testing & commissioning of electronic type level indicator and controller | [8 empty] | Set | 1 | 5500 | 0 | 5500 | 0 | 0 | 5500 | 1000 | 0 | 0 | 1000 | 5500 | 1000 | 6500
1.7 | 508000000 | Supply, installation, testing & commissioning of sight tube (of 3.5 to 4.5 m length) with isolation valve. | [8 empty] | Nos. | 3 | 2000 | 0 | 2000 | 0 | 0 | 2000 | 500 | 0 | 0 | 500 | 6000 | 1500 | 7500
1.8 | 508000000 | Supply, installation, testing & commissioning of non clogging type pumps capable of handling solids upto 38 mm having CI casing & impeller | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.8.1 | 508000000 | Submersible Sump Pumps (1W + 1S) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Flow rate (each) = 2.8 lps | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head = 10Mtr | [8 empty] | Nos. | 2 | 55000 | 0 | 55000 | 0 | 0 | 55000 | 3000 | 0 | 0 | 3000 | 110000 | 6000 | 116000
1.8.1(a) | 508000000 | Submersible Sump Pumps (Sewage transfer to Municipal Sewer line) (1W ) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Flow rate (each) = 2.8 lps | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head = 25Mtr | [8 empty] | No. | 1 | 165000 | 0 | 165000 | 0 | 0 | 165000 | 2000 | 0 | 0 | 2000 | 165000 | 2000 | 167000
1.8.2 | 508000000 | Plant room sump pump with CI body & CI impeller pump | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | (1W + 1S) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Flow rate (each) = 2 lps | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head = 8-10 Mtr | [8 empty] | Nos. | 2 | 40000 | 0 | 40000 | 0 | 0 | 40000 | 3000 | 0 | 0 | 3000 | 80000 | 6000 | 86000
1.9 | 508000000 | Air diffusion system shall include the following: | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.9.1 | 508000000 | Twin lobe rotary air blowers capable of delivering 200 m3/hr. of free air at 0.5 Kg/sq.cm.Mts. | [8 empty] | Nos. | 2 | 140000 | 0 | 140000 | 0 | 0 | 140000 | 4000 | 0 | 0 | 4000 | 280000 | 8000 | 288000
1.9.2 | 508000000 | Air piping shall comprise of pipes droppers/ laterals with S S submerge pipe Header complete | [8 empty] | Lot | 1 | 35000 | 0 | 35000 | 0 | 0 | 35000 | 5000 | 0 | 0 | 5000 | 35000 | 5000 | 40000
1.9.3 | 508000000 | Non clog type air dispersion system capable of handling 3-5 cfm of air with oxygen transfer efficiency of 3-4% per/meter water depth. | [8 empty] | Lot | 1 | 32000 | 0 | 32000 | 0 | 0 | 32000 | 3000 | 0 | 0 | 3000 | 32000 | 3000 | 35000
1.9.4 | 508000000 | Bronze Ball valve and air dispersion grid as required for STP as described above. | [8 empty] | Lot | 1 | 8000 | 0 | 8000 | 0 | 0 | 8000 | 1000 | 0 | 0 | 1000 | 8000 | 1000 | 9000
1.1 | 508000000 | Providing and fixing all piping (as described below) and isolation control valves for making the system complete. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | header of pump/ filter | [8 empty] | Job | 1 | 225000 | 0 | 225000 | 0 | 0 | 225000 | 10000 | 0 | 0 | 10000 | 225000 | 10000 | 235000
1.11 | 508000000 | Designing, supplying, providing, fixing, testing and commissioning of STP as mentioned above. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Providing and fixing of Floating Media and tube deck media | [8 empty] | Job | 1 | 340000 | 0 | 340000 | 0 | 0 | 340000 | 7500 | 0 | 0 | 7500 | 340000 | 7500 | 347500
2 | 508000000 | Supplying, installation, testing and commissioning of horizontal /Vertical sludge recirculation pumps | [8 empty] | Nos. | 2 | 18000 | 0 | 18000 | 0 | 0 | 18000 | 1500 | 0 | 0 | 1500 | 36000 | 3000 | 39000
3 | 508000000 | Supplying, installing, testing & commissioning of vertical/Horizontal centrifugal filter feed water pumps CI Head & Base, SS304 Impeller along with motor. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Capacity : 5.6 LPS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head : 30 M | [8 empty] | Nos. | 2 | 28000 | 0 | 28000 | 0 | 0 | 28000 | 2000 | 0 | 0 | 2000 | 56000 | 4000 | 60000
4 | 508000000 | Supplying, installing, testing and commissioning of centrifugal vertical/Horizontal water supply pump C.I Body, Bronze Impeller with mechanical seal along with motor. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.1 | 508000000 | Capacity : 3 LPS (1W + 1S) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head : 15 M | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Purpose : Flushing water transfer pumps | [8 empty] | Nos. | 0 | 25000 | 0 | 25000 | 0 | 0 | 25000 | 2000 | 0 | 0 | 2000 | 0 | 0 | 0
4.3 | 508000000 | Capacity : 2 LPS (1W + 1S) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head : 70 M | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Purpose : Soft water transfer pump | [8 empty] | Nos. | 2 | 37000 | 0 | 37000 | 0 | 0 | 37000 | 2000 | 0 | 0 | 2000 | 74000 | 4000 | 78000
5 | 508000000 | Supplying, installing, testing and commissioning of composite MSEP vessel filter with PVC frontal piping. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.1 | 508000000 | Multigrade pressure sand filter | [8 empty] | No. | 1 | 140000 | 0 | 140000 | 0 | 0 | 140000 | 5000 | 0 | 0 | 5000 | 140000 | 5000 | 145000
| 508000000 | Flow rate :5.6 LPS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Filtration velocity 15000 ltr./Hr./ Sq.m. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.2 | 508000000 | Activated Carbon Filter | [8 empty] | No. | 1 | 165000 | 0 | 165000 | 0 | 0 | 165000 | 5000 | 0 | 0 | 5000 | 165000 | 5000 | 170000
| 508000000 | Flow rate : 5.6 LPS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Filtration velocity 12000 ltr./ Hr./ Sq.m. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 508000000 | Supply, installation, testing & commissioning of water softening plant (FRP) for make-up water for cooling towers | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.1 | 508000000 | Water Flow : 2 LPS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Test pressure 4.0 Kg / Sqcm) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Outgoing hardness-Commercial Zero | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | OBR - 70 Cum | [8 empty] | Set | 1 | 120000 | 0 | 120000 | 0 | 0 | 120000 | 5000 | 0 | 0 | 5000 | 120000 | 5000 | 125000
7 | 508000000 | Supply, installation, testing and commissioniong of Ultra filtration for flushing water supply for capacity 2.2 cum /hour (22 cum / day), | [8 empty] | Lot | 1 | 385000 | 0 | 385000 | 0 | 0 | 385000 | 10000 | 0 | 0 | 10000 | 385000 | 10000 | 395000
8 | 508000000 | Supply, installation, testing & commissioning of poly electro type dosing system comprising of 100 ltrs HDPE/FRP tank | [8 empty] | No. | 1 | 15000 | 0 | 15000 | 0 | 0 | 15000 | 1000 | 0 | 0 | 1000 | 15000 | 1000 | 16000
9 | 508000000 | Supply, installation, testing & commissioning of single screw double stage, flanged end, CI body alloy steel screw and rotateing parts, | [8 empty] | No. | 1 | 45000 | 0 | 45000 | 0 | 0 | 45000 | 2000 | 0 | 0 | 2000 | 45000 | 2000 | 47000
10 | 508000000 | Supply, installation, testing & commissioning of automatic, hydraulic closing mechanism filter press comprising of CI body grade FG 20. | [8 empty] | No. | 1 | 125000 | 0 | 125000 | 0 | 0 | 125000 | 4000 | 0 | 0 | 4000 | 125000 | 4000 | 129000
11 | 508000000 | PRETREATMENT PLANT FOR LAUNDRY EFFLUENT | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11.1 | 508000000 | Supplying, installing, testing and commissioning of Antifoamig dosing system consisting of one HDPE tank of 100 litres capacity. (For Holding Tank) | [8 empty] | No. | 1 | 15000 | 0 | 15000 | 0 | 0 | 15000 | 1000 | 0 | 0 | 1000 | 15000 | 1000 | 16000
11.2 | 508000000 | Supplying, installing, testing and commissioning of Alum dosing system consisting of one HDPE tank of 100 litres capacity.(For Holding Tank) | [8 empty] | No. | 1 | 15000 | 0 | 15000 | 0 | 0 | 15000 | 1000 | 0 | 0 | 1000 | 15000 | 1000 | 16000
11.3 | 508000000 | Supplying, installing, testing and commissioning of Lamella Tube Settler Media in settling tank of volume 5 Cum. | [8 empty] | Lot | 1 | 55000 | 0 | 55000 | 0 | 0 | 55000 | 2000 | 0 | 0 | 2000 | 55000 | 2000 | 57000
12 | 508000000 | Approval from pollution board at initial & various other stages of works including preparation of report / drawings as per pollution board requirement. | [8 empty] | Job | 1 | 45000 | 0 | 45000 | 0 | 0 | 45000 | 0 | 0 | 0 | 0 | 45000 | 0 | 45000
B | 508000000 | ELECTRICAL INSTALLATION FOR STP | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Design, fabrication, assembling, wiring, supply, installation, testing and commissioning of motor control centre | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 508000000 | MCC-1 (STP Motor Control Centre) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Make- Vidyut | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | MCC-1 for STP as described above | [8 empty] | No. | 1 | 390000 | 0 | 390000 | 0 | 0 | 390000 | 15000 | 0 | 0 | 15000 | 390000 | 15000 | 405000
| 508000000 | inclusive of cable, cable tray and GI earthing wire. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 508000000 | CABLE & CABLE TRAYS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1 | 508000000 | Supplying & laying of following 1100 volt grade XLPE insulated FRLS PVC outer sheathed copper /Aluminium conductor armoured cable as per specification. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | 508000000 | 3 core 10 sq.mm copper cable | [8 empty] | RM | 0 | 380 | 0 | 380 | 0 | 0 | 380 | 50 | 0 | 0 | 50 | 0 | 0 | 0
b. | 508000000 | 3 core 6 sq.mm copper cable | [8 empty] | RM | 0 | 350 | 0 | 350 | 0 | 0 | 350 | 50 | 0 | 0 | 50 | 0 | 0 | 0
c. | 508000000 | 3 core 4 sq. mm. copper cable | [8 empty] | RM | 0 | 300 | 0 | 300 | 0 | 0 | 300 | 50 | 0 | 0 | 50 | 0 | 0 | 0
d. | 508000000 | 4 core 25 sq. mm. Aluminium cable | [8 empty] | RM | 0 | 310 | 0 | 310 | 0 | 0 | 310 | 50 | 0 | 0 | 50 | 0 | 0 | 0
2.2 | 508000000 | Cable end termination of the following XLPE insulated FRLS PVC outer sheathed aluminium/copper conductor armoured cables. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | 508000000 | 3 core 10 sq.mm copper cable | [8 empty] | Nos. | 0 | 150 | 0 | 150 | 0 | 0 | 150 | 50 | 0 | 0 | 50 | 0 | 0 | 0
b. | 508000000 | 3 core 6 sq.mm copper cable | [8 empty] | Nos. | 0 | 150 | 0 | 150 | 0 | 0 | 150 | 50 | 0 | 0 | 50 | 0 | 0 | 0
c. | 508000000 | 3 core 4 sq. mm. copper cable | [8 empty] | Nos. | 0 | 150 | 0 | 150 | 0 | 0 | 150 | 50 | 0 | 0 | 50 | 0 | 0 | 0
d. | 508000000 | 4 core 25 sq. mm. Aluminium cable | [8 empty] | Nos. | 0 | 250 | 0 | 250 | 0 | 0 | 250 | 50 | 0 | 0 | 50 | 0 | 0 | 0
2.3 | 508000000 | Supply and fixing of factory fabricated Hot dip galvanized GI ladder type cable trays, with radial bends, suspenders and supports | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | 508000000 | 750 mm wide | [8 empty] | RM | 0 | 350 | 0 | 350 | 0 | 0 | 350 | 70 | 0 | 0 | 70 | 0 | 0 | 0
b. | 508000000 | 450 mm wide | [8 empty] | RM | 0 | 300 | 0 | 300 | 0 | 0 | 300 | 60 | 0 | 0 | 60 | 0 | 0 | 0
2.4 | 508000000 | Supply and fixing of perforated type Hot dip galvanized GI cable trays with supports, hangers, fastners of the following sizes | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | 508000000 | 300 mm wide | [8 empty] | RM | 0 | 400 | 0 | 400 | 0 | 0 | 400 | 60 | 0 | 0 | 60 | 0 | 0 | 0
b. | 508000000 | 150 mm wide | [8 empty] | RM | 0 | 350 | 0 | 350 | 0 | 0 | 350 | 60 | 0 | 0 | 60 | 0 | 0 | 0
3 | 508000000 | EARTHING | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Supply and fixing of bare GI tapes / wires including all necessary fixing accessories and effecting connections as per specifications. | [8 empty] | LOT | 0 | 8000 | 0 | 8000 | 0 | 0 | 8000 | 500 | 0 | 0 | 500 | 0 | 0 | 0
C | 508000000 | MISCELLANEOUS WORK | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 508000000 | Supplying, fabricating, assembling, hoisting / erecting and fixing in position at locations specified below, structural steel works of MS rolled single / built-up sections conforming to IS 2062 | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 508000000 | In Catwalks /platforms | [8 empty] | Kg | 350 | 90 | 0 | 90 | 0 | 0 | 90 | 15 | 0 | 0 | 15 | 31500 | 5250 | 36750
1.2 | 508000000 | In MS ladder including bending & curving the stringer at top to form handles and fixing the ladder. | [8 empty] | Kg | 150 | 90 | 0 | 90 | 0 | 0 | 90 | 15 | 0 | 0 | 15 | 13500 | 2250 | 15750
1.3 | 508000000 | Supply, installation, testing and commissioing of energy meter, flow meter, pH Meter | [8 empty] | Lot | 1 | 50000 | 0 | 50000 | 0 | 0 | 50000 | 1000 | 0 | 0 | 1000 | 50000 | 1000 | 51000

## Certification
Scenario 3
Local Supply Rates + Installation Rates |  |  | COP-R001 | [21 empty] | 30000 |  |  | 615500 | 0 | 615500 | 0 | 0 | 615500 | 24500 | 0 | 0 | 24500 | 640000
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY | RATE (can be entered directly or summed up for totals)
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Local supply rate | [5 empty] | Installation Rate |  |  |  | Amount |  |  | LOCAL SUPPLY CERTIFICATION | [7 empty] | INSTALLATION CERTIFICATION |  |  |  | CERTIFICATION TOTAL
[13 empty] | Basic Rate | Excise | Subtotal = Basic + Excise | VAT/CST on Subtotal | Others | Supply Rate Total (sum or direct entry) | Basic Rate | Service Tax | Other | Installation Rate Total (sum or direct entry) | LOCAL SUPPLY AMOUNT | INSTALLATION AMOUNT | TOTAL AMOUNT | COP Percentage | COP Quantity | COP Supply Basic | COP Excise | COP Sub Total | COP VAT / CST | COP SupplyOthers | COP Supply Total | COP Installation Basic | COP Service TAX | COP Others | COP Installation Total | TOTAL COP AMOUNT
I | 508000000 | MOVING BED BIO REACTOR (MBBR) SYSTEM: | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A. | 508000000 | SEWAGE TREATMENT PLANT ( MOVING BED BIO REACTOR ) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 508000000 | Design, supplying, installing, testing & commissioning of Sewage Treatment Plant (excluding excavation, back filling & disposal of surplus earth Civil construction work) for the following duty: | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Daily average flow - 200 Cum / Day | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Pre-treatment for Laundry & Kitchen effluents | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 508000000 | Supply, installation, testing & commissioning of 2 Nos SS Coarse & Fine Perforated Screens | [8 empty] | Set | 1 | 15000 | 0 | 15000 | 0 | 0 | 15000 | 1000 | 0 | 0 | 1000 | 15000 | 1000 | 16000 | 20 | 1 | 3000 | 0 | 3000 | 0 | 0 | 3000 | 200 | 0 | 0 | 200 | 3200
1.2 | 508000000 | Supply of MS hot dip galvanized puddle flanges in accordance to BS:10 table D; under the supervision of the STP contractor | [8 empty] | L/S | 0 | 32000 | 0 | 32000 | 0 | 0 | 32000 | 1500 | 0 | 0 | 1500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.3 | 508000000 | Supply of plastic manhole step/foot rest (@ 300 mm c/C) with polypropelene compound injection molded around 12 mm dia (Fe-415) steel reinforcing bar. | [8 empty] | Nos. | 0 | 110 | 0 | 110 | 0 | 0 | 110 | 25 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.4 | 508000000 | Supply, installation, testing & commissioning of CI medium duty rectangular manhole cover with frame for the feasibility of access in the tank | [8 empty] | Nos. | 0 | 5000 | 0 | 5000 | 0 | 0 | 5000 | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.5 | 508000000 | Supply of vent pipes of 100 mm dia with mosquito proof grating | [8 empty] | Nos. | 0 | 3200 | 0 | 3200 | 0 | 0 | 3200 | 1000 | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.6 | 508000000 | Supply, installation, testing & commissioning of electronic type level indicator and controller | [8 empty] | Set | 1 | 5500 | 0 | 5500 | 0 | 0 | 5500 | 1000 | 0 | 0 | 1000 | 5500 | 1000 | 6500 | 20 | 1 | 1100 | 0 | 1100 | 0 | 0 | 1100 | 200 | 0 | 0 | 200 | 1300
1.7 | 508000000 | Supply, installation, testing & commissioning of sight tube (of 3.5 to 4.5 m length) with isolation valve. | [8 empty] | Nos. | 3 | 2000 | 0 | 2000 | 0 | 0 | 2000 | 500 | 0 | 0 | 500 | 6000 | 1500 | 7500 | 20 | 3 | 1200 | 0 | 1200 | 0 | 0 | 1200 | 300 | 0 | 0 | 300 | 1500
1.8 | 508000000 | Supply, installation, testing & commissioning of non clogging type pumps capable of handling solids upto 38 mm having CI casing & impeller | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.8.1 | 508000000 | Submersible Sump Pumps (1W + 1S) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Flow rate (each) = 2.8 lps | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head = 10Mtr | [8 empty] | Nos. | 2 | 55000 | 0 | 55000 | 0 | 0 | 55000 | 3000 | 0 | 0 | 3000 | 110000 | 6000 | 116000 | 20 | 2 | 22000 | 0 | 22000 | 0 | 0 | 22000 | 1200 | 0 | 0 | 1200 | 23200
1.8.1(a) | 508000000 | Submersible Sump Pumps (Sewage transfer to Municipal Sewer line) (1W ) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Flow rate (each) = 2.8 lps | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head = 25Mtr | [8 empty] | No. | 1 | 165000 | 0 | 165000 | 0 | 0 | 165000 | 2000 | 0 | 0 | 2000 | 165000 | 2000 | 167000 | 20 | 1 | 33000 | 0 | 33000 | 0 | 0 | 33000 | 400 | 0 | 0 | 400 | 33400
1.8.2 | 508000000 | Plant room sump pump with CI body & CI impeller pump | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | (1W + 1S) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Flow rate (each) = 2 lps | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head = 8-10 Mtr | [8 empty] | Nos. | 2 | 40000 | 0 | 40000 | 0 | 0 | 40000 | 3000 | 0 | 0 | 3000 | 80000 | 6000 | 86000 | 20 | 2 | 16000 | 0 | 16000 | 0 | 0 | 16000 | 1200 | 0 | 0 | 1200 | 17200
1.9 | 508000000 | Air diffusion system shall include the following: | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.9.1 | 508000000 | Twin lobe rotary air blowers capable of delivering 200 m3/hr. of free air at 0.5 Kg/sq.cm.Mts. | [8 empty] | Nos. | 2 | 140000 | 0 | 140000 | 0 | 0 | 140000 | 4000 | 0 | 0 | 4000 | 280000 | 8000 | 288000 | 20 | 2 | 56000 | 0 | 56000 | 0 | 0 | 56000 | 1600 | 0 | 0 | 1600 | 57600
1.9.2 | 508000000 | Air piping shall comprise of pipes droppers/ laterals with S S submerge pipe Header complete | [8 empty] | Lot | 1 | 35000 | 0 | 35000 | 0 | 0 | 35000 | 5000 | 0 | 0 | 5000 | 35000 | 5000 | 40000 | 20 | 1 | 7000 | 0 | 7000 | 0 | 0 | 7000 | 1000 | 0 | 0 | 1000 | 8000
1.9.3 | 508000000 | Non clog type air dispersion system capable of handling 3-5 cfm of air with oxygen transfer efficiency of 3-4% per/meter water depth. | [8 empty] | Lot | 1 | 32000 | 0 | 32000 | 0 | 0 | 32000 | 3000 | 0 | 0 | 3000 | 32000 | 3000 | 35000 | 20 | 1 | 6400 | 0 | 6400 | 0 | 0 | 6400 | 600 | 0 | 0 | 600 | 7000
1.9.4 | 508000000 | Bronze Ball valve and air dispersion grid as required for STP as described above. | [8 empty] | Lot | 1 | 8000 | 0 | 8000 | 0 | 0 | 8000 | 1000 | 0 | 0 | 1000 | 8000 | 1000 | 9000 | 20 | 1 | 1600 | 0 | 1600 | 0 | 0 | 1600 | 200 | 0 | 0 | 200 | 1800
1.1 | 508000000 | Providing and fixing all piping (as described below) and isolation control valves for making the system complete. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | header of pump/ filter | [8 empty] | Job | 1 | 225000 | 0 | 225000 | 0 | 0 | 225000 | 10000 | 0 | 0 | 10000 | 225000 | 10000 | 235000 | 20 | 1 | 45000 | 0 | 45000 | 0 | 0 | 45000 | 2000 | 0 | 0 | 2000 | 47000
1.11 | 508000000 | Designing, supplying, providing, fixing, testing and commissioning of STP as mentioned above. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Providing and fixing of Floating Media and tube deck media | [8 empty] | Job | 1 | 340000 | 0 | 340000 | 0 | 0 | 340000 | 7500 | 0 | 0 | 7500 | 340000 | 7500 | 347500 | 20 | 1 | 68000 | 0 | 68000 | 0 | 0 | 68000 | 1500 | 0 | 0 | 1500 | 69500
2 | 508000000 | Supplying, installation, testing and commissioning of horizontal /Vertical sludge recirculation pumps | [8 empty] | Nos. | 2 | 18000 | 0 | 18000 | 0 | 0 | 18000 | 1500 | 0 | 0 | 1500 | 36000 | 3000 | 39000 | 20 | 2 | 7200 | 0 | 7200 | 0 | 0 | 7200 | 600 | 0 | 0 | 600 | 7800
3 | 508000000 | Supplying, installing, testing & commissioning of vertical/Horizontal centrifugal filter feed water pumps CI Head & Base, SS304 Impeller along with motor. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Capacity : 5.6 LPS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head : 30 M | [8 empty] | Nos. | 2 | 28000 | 0 | 28000 | 0 | 0 | 28000 | 2000 | 0 | 0 | 2000 | 56000 | 4000 | 60000 | 20 | 2 | 11200 | 0 | 11200 | 0 | 0 | 11200 | 800 | 0 | 0 | 800 | 12000
4 | 508000000 | Supplying, installing, testing and commissioning of centrifugal vertical/Horizontal water supply pump C.I Body, Bronze Impeller with mechanical seal along with motor. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.1 | 508000000 | Capacity : 3 LPS (1W + 1S) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head : 15 M | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Purpose : Flushing water transfer pumps | [8 empty] | Nos. | 0 | 25000 | 0 | 25000 | 0 | 0 | 25000 | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.3 | 508000000 | Capacity : 2 LPS (1W + 1S) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Head : 70 M | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Purpose : Soft water transfer pump | [8 empty] | Nos. | 2 | 37000 | 0 | 37000 | 0 | 0 | 37000 | 2000 | 0 | 0 | 2000 | 74000 | 4000 | 78000 | 20 | 2 | 14800 | 0 | 14800 | 0 | 0 | 14800 | 800 | 0 | 0 | 800 | 15600
5 | 508000000 | Supplying, installing, testing and commissioning of composite MSEP vessel filter with PVC frontal piping. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.1 | 508000000 | Multigrade pressure sand filter | [8 empty] | No. | 1 | 140000 | 0 | 140000 | 0 | 0 | 140000 | 5000 | 0 | 0 | 5000 | 140000 | 5000 | 145000 | 20 | 1 | 28000 | 0 | 28000 | 0 | 0 | 28000 | 1000 | 0 | 0 | 1000 | 29000
| 508000000 | Flow rate :5.6 LPS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Filtration velocity 15000 ltr./Hr./ Sq.m. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.2 | 508000000 | Activated Carbon Filter | [8 empty] | No. | 1 | 165000 | 0 | 165000 | 0 | 0 | 165000 | 5000 | 0 | 0 | 5000 | 165000 | 5000 | 170000 | 20 | 1 | 33000 | 0 | 33000 | 0 | 0 | 33000 | 1000 | 0 | 0 | 1000 | 34000
| 508000000 | Flow rate : 5.6 LPS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Filtration velocity 12000 ltr./ Hr./ Sq.m. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 508000000 | Supply, installation, testing & commissioning of water softening plant (FRP) for make-up water for cooling towers | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.1 | 508000000 | Water Flow : 2 LPS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Test pressure 4.0 Kg / Sqcm) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Outgoing hardness-Commercial Zero | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | OBR - 70 Cum | [8 empty] | Set | 1 | 120000 | 0 | 120000 | 0 | 0 | 120000 | 5000 | 0 | 0 | 5000 | 120000 | 5000 | 125000 | 20 | 1 | 24000 | 0 | 24000 | 0 | 0 | 24000 | 1000 | 0 | 0 | 1000 | 25000
7 | 508000000 | Supply, installation, testing and commissioniong of Ultra filtration for flushing water supply for capacity 2.2 cum /hour (22 cum / day), | [8 empty] | Lot | 1 | 385000 | 0 | 385000 | 0 | 0 | 385000 | 10000 | 0 | 0 | 10000 | 385000 | 10000 | 395000 | 20 | 1 | 77000 | 0 | 77000 | 0 | 0 | 77000 | 2000 | 0 | 0 | 2000 | 79000
8 | 508000000 | Supply, installation, testing & commissioning of poly electro type dosing system comprising of 100 ltrs HDPE/FRP tank | [8 empty] | No. | 1 | 15000 | 0 | 15000 | 0 | 0 | 15000 | 1000 | 0 | 0 | 1000 | 15000 | 1000 | 16000 | 20 | 1 | 3000 | 0 | 3000 | 0 | 0 | 3000 | 200 | 0 | 0 | 200 | 3200
9 | 508000000 | Supply, installation, testing & commissioning of single screw double stage, flanged end, CI body alloy steel screw and rotateing parts, | [8 empty] | No. | 1 | 45000 | 0 | 45000 | 0 | 0 | 45000 | 2000 | 0 | 0 | 2000 | 45000 | 2000 | 47000 | 20 | 1 | 9000 | 0 | 9000 | 0 | 0 | 9000 | 400 | 0 | 0 | 400 | 9400
10 | 508000000 | Supply, installation, testing & commissioning of automatic, hydraulic closing mechanism filter press comprising of CI body grade FG 20. | [8 empty] | No. | 1 | 125000 | 0 | 125000 | 0 | 0 | 125000 | 4000 | 0 | 0 | 4000 | 125000 | 4000 | 129000 | 20 | 1 | 25000 | 0 | 25000 | 0 | 0 | 25000 | 800 | 0 | 0 | 800 | 25800
11 | 508000000 | PRETREATMENT PLANT FOR LAUNDRY EFFLUENT | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11.1 | 508000000 | Supplying, installing, testing and commissioning of Antifoamig dosing system consisting of one HDPE tank of 100 litres capacity. (For Holding Tank) | [8 empty] | No. | 1 | 15000 | 0 | 15000 | 0 | 0 | 15000 | 1000 | 0 | 0 | 1000 | 15000 | 1000 | 16000 | 20 | 1 | 3000 | 0 | 3000 | 0 | 0 | 3000 | 200 | 0 | 0 | 200 | 3200
11.2 | 508000000 | Supplying, installing, testing and commissioning of Alum dosing system consisting of one HDPE tank of 100 litres capacity.(For Holding Tank) | [8 empty] | No. | 1 | 15000 | 0 | 15000 | 0 | 0 | 15000 | 1000 | 0 | 0 | 1000 | 15000 | 1000 | 16000 | 20 | 1 | 3000 | 0 | 3000 | 0 | 0 | 3000 | 200 | 0 | 0 | 200 | 3200
11.3 | 508000000 | Supplying, installing, testing and commissioning of Lamella Tube Settler Media in settling tank of volume 5 Cum. | [8 empty] | Lot | 1 | 55000 | 0 | 55000 | 0 | 0 | 55000 | 2000 | 0 | 0 | 2000 | 55000 | 2000 | 57000 | 20 | 1 | 11000 | 0 | 11000 | 0 | 0 | 11000 | 400 | 0 | 0 | 400 | 11400
12 | 508000000 | Approval from pollution board at initial & various other stages of works including preparation of report / drawings as per pollution board requirement. | [8 empty] | Job | 1 | 45000 | 0 | 45000 | 0 | 0 | 45000 | 0 | 0 | 0 | 0 | 45000 | 0 | 45000 | 20 | 1 | 9000 | 0 | 9000 | 0 | 0 | 9000 | 0 | 0 | 0 | 0 | 9000
B | 508000000 | ELECTRICAL INSTALLATION FOR STP | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Design, fabrication, assembling, wiring, supply, installation, testing and commissioning of motor control centre | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 508000000 | MCC-1 (STP Motor Control Centre) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Make- Vidyut | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | MCC-1 for STP as described above | [8 empty] | No. | 1 | 390000 | 0 | 390000 | 0 | 0 | 390000 | 15000 | 0 | 0 | 15000 | 390000 | 15000 | 405000 | 20 | 1 | 78000 | 0 | 78000 | 0 | 0 | 78000 | 3000 | 0 | 0 | 3000 | 81000
| 508000000 | inclusive of cable, cable tray and GI earthing wire. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 508000000 | CABLE & CABLE TRAYS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1 | 508000000 | Supplying & laying of following 1100 volt grade XLPE insulated FRLS PVC outer sheathed copper /Aluminium conductor armoured cable as per specification. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | 508000000 | 3 core 10 sq.mm copper cable | [8 empty] | RM | 0 | 380 | 0 | 380 | 0 | 0 | 380 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b. | 508000000 | 3 core 6 sq.mm copper cable | [8 empty] | RM | 0 | 350 | 0 | 350 | 0 | 0 | 350 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
c. | 508000000 | 3 core 4 sq. mm. copper cable | [8 empty] | RM | 0 | 300 | 0 | 300 | 0 | 0 | 300 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d. | 508000000 | 4 core 25 sq. mm. Aluminium cable | [8 empty] | RM | 0 | 310 | 0 | 310 | 0 | 0 | 310 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.2 | 508000000 | Cable end termination of the following XLPE insulated FRLS PVC outer sheathed aluminium/copper conductor armoured cables. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | 508000000 | 3 core 10 sq.mm copper cable | [8 empty] | Nos. | 0 | 150 | 0 | 150 | 0 | 0 | 150 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b. | 508000000 | 3 core 6 sq.mm copper cable | [8 empty] | Nos. | 0 | 150 | 0 | 150 | 0 | 0 | 150 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
c. | 508000000 | 3 core 4 sq. mm. copper cable | [8 empty] | Nos. | 0 | 150 | 0 | 150 | 0 | 0 | 150 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d. | 508000000 | 4 core 25 sq. mm. Aluminium cable | [8 empty] | Nos. | 0 | 250 | 0 | 250 | 0 | 0 | 250 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.3 | 508000000 | Supply and fixing of factory fabricated Hot dip galvanized GI ladder type cable trays, with radial bends, suspenders and supports | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | 508000000 | 750 mm wide | [8 empty] | RM | 0 | 350 | 0 | 350 | 0 | 0 | 350 | 70 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b. | 508000000 | 450 mm wide | [8 empty] | RM | 0 | 300 | 0 | 300 | 0 | 0 | 300 | 60 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.4 | 508000000 | Supply and fixing of perforated type Hot dip galvanized GI cable trays with supports, hangers, fastners of the following sizes | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. | 508000000 | 300 mm wide | [8 empty] | RM | 0 | 400 | 0 | 400 | 0 | 0 | 400 | 60 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b. | 508000000 | 150 mm wide | [8 empty] | RM | 0 | 350 | 0 | 350 | 0 | 0 | 350 | 60 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 508000000 | EARTHING | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 508000000 | Supply and fixing of bare GI tapes / wires including all necessary fixing accessories and effecting connections as per specifications. | [8 empty] | LOT | 0 | 8000 | 0 | 8000 | 0 | 0 | 8000 | 500 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | 508000000 | MISCELLANEOUS WORK | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 508000000 | Supplying, fabricating, assembling, hoisting / erecting and fixing in position at locations specified below, structural steel works of MS rolled single / built-up sections conforming to IS 2062 | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 508000000 | In Catwalks /platforms | [8 empty] | Kg | 350 | 90 | 0 | 90 | 0 | 0 | 90 | 15 | 0 | 0 | 15 | 31500 | 5250 | 36750 | 20 | 350 | 6300 | 0 | 6300 | 0 | 0 | 6300 | 1050 | 0 | 0 | 1050 | 7350
1.2 | 508000000 | In MS ladder including bending & curving the stringer at top to form handles and fixing the ladder. | [8 empty] | Kg | 150 | 90 | 0 | 90 | 0 | 0 | 90 | 15 | 0 | 0 | 15 | 13500 | 2250 | 15750 | 20 | 150 | 2700 | 0 | 2700 | 0 | 0 | 2700 | 450 | 0 | 0 | 450 | 3150
1.3 | 508000000 | Supply, installation, testing and commissioing of energy meter, flow meter, pH Meter | [8 empty] | Lot | 1 | 50000 | 0 | 50000 | 0 | 0 | 50000 | 1000 | 0 | 0 | 1000 | 50000 | 1000 | 51000 | 20 | 1 | 10000 | 0 | 10000 | 0 | 0 | 10000 | 200 | 0 | 0 | 200 | 10200

## COP Facesheet
CHARTERED HOTELS PVT. LTD.
CERTIFICATE OF PAYMENT
COP No. - HRL/COP/GEPL/006 |  |  |  |  | Date.:- 8/02/2013
Project Code - |  | 006 |  |  | Not For Payment
Project - |  | Hyatt Regency - Lucknow
Work : | Design,Engineering,Supply,Erection & Commissioning of 200KLD STP |  |  | M/s. Gamani Engineering Pvt. Ltd
Budget Code - |  |  |  | C-188,1st Floor, Naraina Ind. Area, Phase-I, New Delhi-110028
W.O. / P.O. No. & Date - |  |  | CHPL/006/WO/12-13/0341 Dated 7th Jan, 2013 | PAN No.:- AACCG4962E
Original W.O. Value - |  |  | 3200000 | VAT No.:- CST NO- Service Tax No:- AACCG4962EST001
WO Amendment No. - |  |  |  | Invoice No. 1st R.A.Bill
Amended or WO/PO Value - |  |  | 3200000
Balance Work Yet to be done |  |  | 2560000
Sr. No. | Description of Work |  |  | Previous Certified Amount INR | Current Certified Amount INR | Cumulative Certified Amount INR
| Certificate Type - |  |  |  | I
| Certificate No. - |  |  |  | COP-R001
A | Work Done Amount
1 | Net Supply Amount (Basix + Excise) |  |  |  | 615500 | 615500
2 | Net Installation Amount |  |  |  | 24500 | 24500
3 | VAT / CST |  |  |  | 0 | 0
4 | Service Tax. |  |  |  | 0 | 0
5 | Other Payments -Supply and Installation |  |  |  | 0 | 0
A | Gross Amount for Work Done As per this Bill |  |  | 0 | 640000 | 640000
B | Recoveries:-
1 | Recovery of Advance (@13.333%) |  |  |  | 0
2 | Recovery of water Charges for Water Consumed |  |  |  | 0
3 | Recovery of Power ( For Electricity Consumed) |  |  |  | 0
4 | Recovery of Monthly Advance ( if any) |  |  |  | 0
5 | Recovery of unsecured Advance( Including Expired Bank Guarantee |  |  |  | 0
6 | Recovery of Insurance Premium |  |  |  | 0
7 | Debit for Non removing of debris |  |  |  | 0
8 | Retention Amount (as per Contract Conditions 5%) |  |  |  | 0
9 | Non Conformity of Concrete |  |  |  | 0
10 | Miscellaneous |  |  |  | 0
B | Total Gross Recoveries:- |  |  | 0 | 0 | 0
C | Other Payments |  |  |  | 0
1 | Mobilisation Advance |  |  |  | 0
2 | Ad-Hoc Certification |  |  |  | 0
3 | Secured Advance |  |  |  | 0
4 | Travel Reimbursement |  |  |  | 0
5 | Net Amount of Other Payments |  |  |  | 0
6 | Service Tax ON Other Payments, if any. |  |  |  | 0
C | Gross Amount for Other Payments |  |  | 0 | 0 | 0
| Gross Certified as Per This Bill A-B+C |  |  |  | 640000 | 640000
Rs. (In Words):
Mode of Payment:-
Remarks:-
Prepared By |  | Checked By |  | Approved By | Approved By
QS and Contracts |  | Asst.GM - Contracts |  | GM -Project | GM -Contracts
CHPL
CHPL
CHPL