## Order
Scenario 4
Single rate for supply + install
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Supply + Installation Rate
[13 empty] | Basic Rate | VAT | Service | CESS | Other | supply + Installation total | Amount
A | 203010000 | BASEMENT WORKS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | 203010000 | EXCAVATION | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203010000 | Earthwork in mass excavation for basement | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203010000 | In all types of ordinary and hard soils - | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.1 | 203010000 | Upto the specified RL for all depths | [8 empty] | Cum. | 54862.58 | 85 | 3.4 | 4.2024 | 0 | 0 | 92.6024 | 5080407
2.1 | 203010000 | Disposal of excavated materials to dumping ground as arranged by the contractor | [8 empty] | Cum. | 58735.12 | 28 | 1.12 | 1.3843 | 0 | 0 | 30.5043 | 1791675
3.1 | 203010000 | Backfilling with selected approved earth available from the site excavation | [8 empty] | Cum. | 637.57 | 56 | 2.24 | 2.7686 | 0 | 0 | 61.0086 | 38897
3.2 | 203010000 | Backfilling with selected approved earth brought from outside. | [8 empty] | Cum. | 7182 | 234 | 9.36 | 11.569 | 0 | 0 | 254.929 | 1830900
4 | 203010000 | Providing and laying dry stone packing | [8 empty] | Cum. | 16.47 | 2557 | 102.28 | 126.4181 | 0 | 0 | 2785.6981 | 45880
5 | 203010000 | Designing, Installing, maintaining suitable earth retaining / shoring system | [8 empty] | Sqm. | 1720.72 | 568 | 22.72 | 28.0819 | 0 | 0 | 618.8019 | 1064785
II | 203010000 | ANTI-TERMITE TREATMENT | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203010000 | Providing pre-constructional Anti-termite treatment | [8 empty] | Sqm. | 2319.39 | 99 | 3.96 | 4.8946 | 0 | 0 | 107.8546 | 250157
III | 203020000 | PLAIN CEMENT CONCRETE | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203020000 | In foundation pits, footings, rafts etc. | [8 empty] | Cum. | 244.49 | 6468 | 258.72 | 319.7779 | 0 | 0 | 7046.4979 | 1722798
IV | 203030000 | REINFORCED CEMENT CONCRETE | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203030000 | Providing and laying in position ready mixed cement concrete (RMC) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203030000 | For all RCC elements (as mentioned below) - UPTO GROUND FLOOR LEVEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.1 | 203030000 | In footings, pedestals, strip footings, equipment foundations etc. | [8 empty] | Cum. | 733.33 | 7618 | 304.72 | 376.6339 | 0 | 0 | 8299.3539 | 6086165
1.1.2 | 203030000 | In raft slabs | [8 empty] | Cum. | 1645.64 | 7618 | 304.72 | 376.6339 | 0 | 0 | 8299.3539 | 13657749
1.1.3 | 203030000 | In columns in a square / rectangular profile | [8 empty] | Cum. | 218.99 | 7689 | 307.56 | 380.1442 | 0 | 0 | 8376.7042 | 1834414
1.1.5 | 203030000 | In floor beams, tie-beams etc. in straight profile | [8 empty] | Cum. | 308.51 | 7653 | 306.12 | 378.3643 | 0 | 0 | 8337.4843 | 2572197
1.1.7 | 203030000 | In basement retaining walls including chamfers, counterforts etc. | [8 empty] | Cum. | 789.87 | 7689 | 307.56 | 380.1442 | 0 | 0 | 8376.7042 | 6616507
1.1.8 | 203030000 | In lift walls, shear walls, parapet walls etc. | [8 empty] | Cum. | 214.3 | 7689 | 307.56 | 380.1442 | 0 | 0 | 8376.7042 | 1795128
1.1.9 | 203030000 | In floor slabs in a horizontal / straight profile | [8 empty] | Cum. | 477.53 | 7653 | 306.12 | 378.3643 | 0 | 0 | 8337.4843 | 3981399
1.1.11 | 203030000 | In stairway waist slabs including steps and midlandings. | [8 empty] | Cum. | 17.33 | 7653 | 306.12 | 378.3643 | 0 | 0 | 8337.4843 | 144489
2 | 203030000 | Add or deduct over item 1.0 above for providing following grades of concrete for any item of work instead of M-30 Grade concrete. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1 | 203030000 | In M-25 Grade | [8 empty] | Cum. | 3045.78 | -400 | -16 | -19.776 | 0 | 0 | -435.776 | -1327278
2.2 | 203030000 | In M-35 Grade | [8 empty] | Cum. | 0 | 212 | 8.48 | 10.4813 | 0 | 0 | 230.9613 | 0
2.3 | 203030000 | In M-40 Grade | [8 empty] | Cum. | 137.41 | 444 | 17.76 | 21.9514 | 0 | 0 | 483.7114 | 66467
2.4 | 203030000 | In M-45 Grade | [8 empty] | Cum. | 17.07 | 705 | 28.2 | 34.8552 | 0 | 0 | 768.0552 | 13111
2.5 | 203030000 | In M-50 Grade | [8 empty] | Cum. | 263.72 | 1481 | 59.24 | 73.2206 | 0 | 0 | 1613.4606 | 425502
3 | 203040000 | Providing & fixing in position, centering and shuttering including | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.1 | 203040000 | For all Centering & Shuttering Work (as mentioned below) - UPTO GROUND FLOOR LEVEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.1.1 | 203040000 | In PCC work below foundation pits, footings, rafts, for plinth protection, copings, sills etc. | [8 empty] | Sqm. | 91.07 | 364 | 14.56 | 17.9962 | 0 | 0 | 396.5562 | 36114
3.1.2 | 203040000 | In footings, pedestals, strip footings, equipment foundations etc. | [8 empty] | Sqm. | 400.51 | 364 | 14.56 | 17.9962 | 0 | 0 | 396.5562 | 158825
3.1.3 | 203040000 | In raft slabs | [8 empty] | Sqm. | 239.66 | 364 | 14.56 | 17.9962 | 0 | 0 | 396.5562 | 95039
3.1.4 | 203040000 | In columns in a square / rectangular profile | [8 empty] | Sqm. | 1196.67 | 470 | 18.8 | 23.2368 | 0 | 0 | 512.0368 | 612739
3.1.6 | 203040000 | In floor beams, tie-beams etc. in straight profile | [8 empty] | Sqm. | 1858.1 | 448 | 17.92 | 22.1491 | 0 | 0 | 488.0691 | 906881
3.1.8 | 203040000 | In basement retaining walls including chamfers, counterforts etc. (Provision of necessary staging for external face of the retaining wall shall be included in the item) | [8 empty] | Sqm. | 3741.21 | 484 | 19.36 | 23.929 | 0 | 0 | 527.289 | 1972699
3.1.9 | 203040000 | In lift walls, shear walls, parapet walls etc. | [8 empty] | Sqm. | 1640.65 | 484 | 19.36 | 23.929 | 0 | 0 | 527.289 | 865097
3.1.10 | 203040000 | In floor slabs in a horizontal / straight profile | [8 empty] | Sqm. | 2870.77 | 448 | 17.92 | 22.1491 | 0 | 0 | 488.0691 | 1401134
3.1.12 | 203040000 | In stairway waist slabs including steps and midlandings. | [8 empty] | Sqm. | 119.19 | 462 | 18.48 | 22.8413 | 0 | 0 | 503.3213 | 59991
3.1.17 | 203040000 | Part rate shuttering as perJMR | [8 empty] | Sqm. | 413.17 | 448 | 17.92 | 22.1491 | 0 | 0 | 488.0691 | 201656
4 | 203040000 | Extra over Item 3.0 above for staging / additional height in centering, shuttering in suspended floors, roofs, landings, beams and cantilevers | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 | 203040000 | Staging / additional height in centering, shuttering upto a total height of 4.05m i.e. additional 0.55m over initial height of 3.5m. (In parking areas of all basement B3, B2 & B1) | [8 empty] | Sqm. | 904.6 | 141 | 5.64 | 6.971 | 0 | 0 | 153.611 | 138957
4.3 | 203040000 | Staging / additional height in centering, shuttering upto a total height of 4.75m i.e. additional 1.25m over initial height of 3.5m. (In upper basement B1 - Kitchen Area) | [8 empty] | Sqm. | 293.71 | 176 | 7.04 | 8.7014 | 0 | 0 | 191.7414 | 56316
4.5 | 203040000 | Staging / additional height in centering, shuttering upto a total height of 5.85m i.e. additional 2.35m over initial height of 3.5m. (In lower basement B3 - Service Rooms) | [8 empty] | Sqm. | 1469.16 | 268 | 10.72 | 13.2499 | 0 | 0 | 291.9699 | 428951
5.1 | 203050000 | TMT bars conforming to IS-1786, grade Fe-500D | [8 empty] | MT. | 573.23 | 60000 | 2400 | 2966.4 | 0 | 0 | 65366.4 | 37469981
V | 203060000 | STRUCTURAL STEEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.4 | 203060000 | In MS base plates, gusset plates, connecting plates etc. | [8 empty] | MT. | 0.15 | 97537 | 3901.48 | 4822.2293 | 0 | 0 | 106260.7093 | 15939
VIII | 203100000 | WATER PROOFING | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203100000 | Providing and laying membrane waterproofing system to the basement and other underground structures | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203100000 | In horizontal areas, below rafts etc. as detailed hereunder: | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.1 | 203100000 | Providing & laying minimum 2.0mm thick flexible PVC synthetic waterproofing membrane system Masterpren BG of BASF | [8 empty] | Sqm. | 2319.39 | 440 | 17.6 | 21.7536 | 0 | 0 | 479.3536 | 1111808
1.2.1a | 203100000 | Stage-I & Stage-II Revised waterproofing (Crystalline method) | [8 empty] | Sqm. | 579 | 483 | 19.32 | 23.8795 | 0 | 0 | 526.1995 | 304670
B | 204000000 | SUPERSTRUCTURE WORKS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
II | 204050000 | STRUCTURAL STEEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 204050000 | In MS angles for column guards, nosing in trench walls, steps etc. | [8 empty] | MT. | 0.67 | 90490 | 3619.6 | 4473.8256 | 0 | 0 | 98583.4256 | 66051
9 | 204050000 | Providing & Fixing approved anchor fasteners (manufactured by HILTI | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.1 | 204050000 | Dia 12mm | [8 empty] | Each | 36 | 817 | 32.68 | 40.3925 | 0 | 0 | 890.0725 | 32043
VI | 204100000 | MISCELLANEOUS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 204100000 | Supplying and providing Puddle flanges | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.1 | 204100000 | 80mm dia. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 204100000 | Part rate | [8 empty] | Each | 53 | 1221.6 | 48.864 | 60.3959 | 0 | 0 | 1330.8599 | 70536
9.2 | 204100000 | 100mm dia. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
V | 208000000 | For Vastu Work | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | 208000000 | EXCAVATION | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 208000000 | Earthwork in mass excavation for basement | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 208000000 | In all types of ordinary and hard soils - | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.1 | 208000000 | Upto the specified RL for all depths | [8 empty] | Cum. | 6.65 | 85 | 3.4 | 4.2024 | 0 | 0 | 92.6024 | 616
VI | 208000000 | MASONRY | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 208000000 | Providing and constructing Brick Masonry, with locally available first quality bricks of class designation 75 in cement mortar CM 1:6 (1 cement : 6 coarse sand) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 208000000 | 230mm thick and above (nominal dimension) Brick Masonry ( In basement) | [8 empty] | Cum. | 4.87 | 5079 | 203.16 | 251.1058 | 0 | 0 | 5533.2658 | 26947
2 | 208000000 | Providing and constructing Brick masonry in 115mm thick at all levels with locally available first quality bricks in cement mortar CM 1:4 (1 cement : 4 coarse sand) (In superstructure) | [8 empty] | Sqm. | 16.93 | 858 | 34.32 | 42.4195 | 0 | 0 | 934.7395 | 15825
VII | 208000000 | INTERNAL PLASTERING | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 208000000 | Providing and applying 15mm thick plaster in cement mortar 1:4 (1 cement : 4 fine sand); to internal surfaces (For internal concrete & masonry surfaces in basements) | [8 empty] | Sqm. | 31.43 | 229 | 9.16 | 11.3218 | 0 | 0 | 249.4818 | 7841
II | 208000000 | STRUCTURAL STEEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 208000000 | Supplying, fabricating, assembling, hoisting / erecting and fixing in position at locations specified below, structural steel works of MS rolled single / built-up sections conforming to IS 2062, | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 208000000 | In MS angles for column guards, nosing in trench walls, steps etc. | [8 empty] | MT. | 0.06 | 90490 | 3619.6 | 4473.8256 | 0 | 0 | 98583.4256 | 5915
VIII | 203110000 | EXTRA ITEMS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203110000 | P/L Plum concrete | [8 empty] | CUM | 75.654 | 3800 | 152 | 187.872 | 0 | 0 | 4139.872 | 313198
2 | 107000000 | P/L GI Sheet for store roofing | [8 empty] | SQM | 6.669 | 700 | 28 | 34.608 | 0 | 0 | 762.608 | 5086
3 | 203110000 | P/L GI Pipe for raft pressure release. | [8 empty] | RMT | 50 | 211 | 8.44 | 10.4318 | 0 | 0 | 229.8718 | 11494
4 | 203010000 | Additional rate for pressure gruniting for retaining of soil | [8 empty] | SQM | 789 | 1890 | 75.6 | 93.4416 | 0 | 0 | 2059.0416 | 1624584
4.1 | 203110000 | amuont paid in Item no 5 of tender item | [8 empty] | Sqm | 438 | -568 | -22.72 | -28.0819 | 0 | 0 | -618.8019 | -271035
5 | 203110000 | Loss incurred due to haphazard backfilling | [8 empty] | LS | 1 | 1411626.22 | 56465.0488 | 69790.8003 | 0 | 0 | 1537882.0691 | 1537882
6 | 203110000 | Repair of concrete Pump. | [8 empty] | LS | 1 | 161000 | 6440 | 7959.84 | 0 | 0 | 175399.84 | 175400
7 | 203110000 | Rental charges for concrete pump | [8 empty] | LS | 1 | 56000 | 2240 | 2768.64 | 0 | 0 | 61008.64 | 61009
8 | 203010000 | Backfilling with selected approved earth brought from outside. Extra on item no 3.2 backfilling | [8 empty] | CUM | 7182 | 176.04 | 7.0416 | 8.7034 | 0 | 0 | 191.785 | 1377400
9 | 203050000 | Rebaring work | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | 203050000 | 8mm | [8 empty] | Nos | 117 | 99 | 3.96 | 4.8946 | 0 | 0 | 107.8546 | 12619
ii | 203050000 | 10mm | [8 empty] | Nos | 130 | 117 | 4.68 | 5.7845 | 0 | 0 | 127.4645 | 16570
iii | 203050000 | 12mm | [8 empty] | Nos | 399 | 385 | 15.4 | 19.0344 | 0 | 0 | 419.4344 | 167354
iv | 203050000 | 16mm | [8 empty] | Nos | 175 | 782 | 31.28 | 38.6621 | 0 | 0 | 851.9421 | 149090
v | 203050000 | 20mm | [8 empty] | Nos | 170 | 1320 | 52.8 | 65.2608 | 0 | 0 | 1438.0608 | 244470
vi | 203050000 | 25mm | [8 empty] | Nos | 11 | 1378 | 55.12 | 68.1283 | 0 | 0 | 1501.2483 | 16514
vii | 203050000 | 32mm | [8 empty] | nos | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 203110000 | Pipe driving (MS Perforated for raft) | [8 empty] | LS | 1 | 32460 | 1298.4 | 1604.8224 | 0 | 0 | 35363.2224 | 35363
12 | 203110000 | Providing and laying in position ready mixed plain cement concrete manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix cement concrete of M-15 Grade. for making bandh all around the plot | [8 empty] | m3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 203110000 | Reinforcement bar cutting by using gas cutter | [8 empty] | LS | 1 | 10000 | 400 | 494.4 | 0 | 0 | 10894.4 | 10894
14 | 203040000 | Shuttering for the above item 12 | [8 empty] | LS | 123 | 364 | 14.56 | 17.9962 | 0 | 0 | 396.5562 | 48776
15 | 203110000 | Supply of Manpower | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | 203110000 | Mason | [8 empty] | Mandays | 4.38 | 400 | 16 | 19.776 | 0 | 0 | 435.776 | 1909
ii | 203110000 | Helper | [8 empty] | Mandays | 64.5 | 250 | 10 | 12.36 | 0 | 0 | 272.36 | 17567
IX | 203000000 | Price Variation for Steel Reinforcement and RMC Concrete | [8 empty] | No. | 1 | 1762252.94 | 70490.1176 | 87125.7854 | 0 | 0 | 1919868.843 | 1919869
X | 203110000 | List of Material Handover | [8 empty] | Nil | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
1 | 203110000 | Sign board of LDA at gate | [8 empty] | Nos | 1 | 8500 | 340 | 420.24 | 0 | 0 | 9260.24 | 9260
2 | 203110000 | Potacabin with AC | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 203110000 | Water tank for CHPL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 203110000 | Cost of shuttering material | [8 empty] | Nos | 1 | 766045.8 | 30641.832 | 37873.3044 | 0 | 0 | 834560.9364 | 834561
5 | 203110000 | Furniture for portacabin | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 203110000 | Misc. material handed over to CHPL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | 203110000 | OLD GI Sheet 2x5"x10 and OLD GI Sheet 2x5"x8 | [8 empty] | Nos | 1 | 70000 | 2800 | 3460.8 | 0 | 0 | 76260.8 | 76261
ii | 203110000 | Door colums (2mtr) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
iii | 203110000 | Purlin (2mtr) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
iv | 203110000 | Corner columns (2mtr) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
v | 203110000 | Gable side runners | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
vi | 203110000 | Side runners | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
vii | 203110000 | Truss joint | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
viii | 203110000 | Floor centers | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ix | 203110000 | U Jacks | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | 203110000 | Cable 2.5sqmm 4core | [8 empty] | Nos | 217 | 42 | 1.68 | 2.0765 | 0 | 0 | 45.7565 | 9929
xi | 203110000 | Cable 2.5sqmm 2core | [8 empty] | Nos | 156 | 31.5 | 1.26 | 1.5574 | 0 | 0 | 34.3174 | 5354
xii | 203110000 | Cable 2.5sqmm 3core | [8 empty] | Nos | 12.5 | 56 | 2.24 | 2.7686 | 0 | 0 | 61.0086 | 763
xiii | 203110000 | Cable 4sqmm 4core | [8 empty] | Nos | 48 | 33.6 | 1.344 | 1.6612 | 0 | 0 | 36.6052 | 1757
xiv | 203110000 | Cable 16 sqm 4core | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
xv | 203110000 | Socket 16 Amp | [8 empty] | Nos | 13 | 279.3 | 11.172 | 13.8086 | 0 | 0 | 304.2806 | 3956
xvi | 203110000 | RCB 63 Amp | [8 empty] | Nos | 1 | 5950 | 238 | 294.168 | 0 | 0 | 6482.168 | 6482
xvii | 203110000 | Sodium Lamo 400W | [8 empty] | Nos | 9 | 3010 | 120.4 | 148.8144 | 0 | 0 | 3279.2144 | 29513
xviii | 203110000 | Sodium Lamo 250W | [8 empty] | Nos | 1 | 2660 | 106.4 | 131.5104 | 0 | 0 | 2897.9104 | 2898
xix | 203110000 | Submersible pump | [8 empty] | Nos | 1 | 50000 | 2000 | 2472 | 0 | 0 | 54472 | 54472

## Certification
Scenario 4
Single rate for supply + install | [21 empty] | 93771768 | 3750871 | 4636076 | 0 | 0 | 102158715
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Supply + Installation Rate | [6 empty] | CERTIFICATION
[13 empty] | Basic Rate | VAT | Service | CESS | Other | supply + Installation total | Amount | COP Percentage | COP Quantity | COP Basic | COP VAT | COP SERVICE | COP CESS | COP Others | COP TOTAL
A | 203010000 | BASEMENT WORKS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | 203010000 | EXCAVATION | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203010000 | Earthwork in mass excavation for basement | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203010000 | In all types of ordinary and hard soils - | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.1 | 203010000 | Upto the specified RL for all depths | [8 empty] | Cum. | 54862.58 | 85 | 3.4 | 4.2024 | 0 | 0 | 92.6024 | 5080407 | 100 | 54862.28 | 4663293.8 | 186531.752 | 230553.2455 | 0 | 0 | 5080379
2.1 | 203010000 | Disposal of excavated materials to dumping ground as arranged by the contractor | [8 empty] | Cum. | 58735.12 | 28 | 1.12 | 1.3843 | 0 | 0 | 30.5043 | 1791675 | 100 | 58735.12 | 1644583.36 | 65783.3344 | 81308.2013 | 0 | 0 | 1791675
3.1 | 203010000 | Backfilling with selected approved earth available from the site excavation | [8 empty] | Cum. | 637.57 | 56 | 2.24 | 2.7686 | 0 | 0 | 61.0086 | 38897 | 100 | 637.57 | 35703.92 | 1428.1568 | 1765.2018 | 0 | 0 | 38897
3.2 | 203010000 | Backfilling with selected approved earth brought from outside. | [8 empty] | Cum. | 7182 | 234 | 9.36 | 11.569 | 0 | 0 | 254.929 | 1830900 | 100 | 7182 | 1680588 | 67223.52 | 83088.2707 | 0 | 0 | 1830900
4 | 203010000 | Providing and laying dry stone packing | [8 empty] | Cum. | 16.47 | 2557 | 102.28 | 126.4181 | 0 | 0 | 2785.6981 | 45880 | 100 | 16.47 | 42113.79 | 1684.5516 | 2082.1058 | 0 | 0 | 45880
5 | 203010000 | Designing, Installing, maintaining suitable earth retaining / shoring system | [8 empty] | Sqm. | 1720.72 | 568 | 22.72 | 28.0819 | 0 | 0 | 618.8019 | 1064785 | 100 | 1720.72 | 977368.96 | 39094.7584 | 48321.1214 | 0 | 0 | 1064785
II | 203010000 | ANTI-TERMITE TREATMENT | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203010000 | Providing pre-constructional Anti-termite treatment | [8 empty] | Sqm. | 2319.39 | 99 | 3.96 | 4.8946 | 0 | 0 | 107.8546 | 250157 | 60 | 2319.39 | 137771.766 | 5510.8706 | 6811.4361 | 0 | 0 | 150094
III | 203020000 | PLAIN CEMENT CONCRETE | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203020000 | In foundation pits, footings, rafts etc. | [8 empty] | Cum. | 244.49 | 6468 | 258.72 | 319.7779 | 0 | 0 | 7046.4979 | 1722798 | 100 | 244.49 | 1581361.32 | 63254.4528 | 78182.5037 | 0 | 0 | 1722798
IV | 203030000 | REINFORCED CEMENT CONCRETE | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203030000 | Providing and laying in position ready mixed cement concrete (RMC) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203030000 | For all RCC elements (as mentioned below) - UPTO GROUND FLOOR LEVEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.1 | 203030000 | In footings, pedestals, strip footings, equipment foundations etc. | [8 empty] | Cum. | 733.33 | 7618 | 304.72 | 376.6339 | 0 | 0 | 8299.3539 | 6086165 | 100 | 733.33 | 5586507.94 | 223460.3176 | 276196.9526 | 0 | 0 | 6086165
1.1.2 | 203030000 | In raft slabs | [8 empty] | Cum. | 1645.64 | 7618 | 304.72 | 376.6339 | 0 | 0 | 8299.3539 | 13657749 | 100 | 1645.64 | 12536485.52 | 501459.4208 | 619803.8441 | 0 | 0 | 13657749
1.1.3 | 203030000 | In columns in a square / rectangular profile | [8 empty] | Cum. | 218.99 | 7689 | 307.56 | 380.1442 | 0 | 0 | 8376.7042 | 1834414 | 100 | 218.99 | 1683814.11 | 67352.5644 | 83247.7696 | 0 | 0 | 1834414
1.1.5 | 203030000 | In floor beams, tie-beams etc. in straight profile | [8 empty] | Cum. | 308.51 | 7653 | 306.12 | 378.3643 | 0 | 0 | 8337.4843 | 2572197 | 100 | 308.51 | 2361027.03 | 94441.0812 | 116729.1764 | 0 | 0 | 2572197
1.1.7 | 203030000 | In basement retaining walls including chamfers, counterforts etc. | [8 empty] | Cum. | 789.87 | 7689 | 307.56 | 380.1442 | 0 | 0 | 8376.7042 | 6616507 | 100 | 789.87 | 6073310.43 | 242932.4172 | 300264.4677 | 0 | 0 | 6616507
1.1.8 | 203030000 | In lift walls, shear walls, parapet walls etc. | [8 empty] | Cum. | 214.3 | 7689 | 307.56 | 380.1442 | 0 | 0 | 8376.7042 | 1795128 | 100 | 214.3 | 1647752.7 | 65910.108 | 81464.8935 | 0 | 0 | 1795128
1.1.9 | 203030000 | In floor slabs in a horizontal / straight profile | [8 empty] | Cum. | 477.53 | 7653 | 306.12 | 378.3643 | 0 | 0 | 8337.4843 | 3981399 | 100 | 477.53 | 3654537.09 | 146181.4836 | 180680.3137 | 0 | 0 | 3981399
1.1.11 | 203030000 | In stairway waist slabs including steps and midlandings. | [8 empty] | Cum. | 17.33 | 7653 | 306.12 | 378.3643 | 0 | 0 | 8337.4843 | 144489 | 100 | 17.33 | 132626.49 | 5305.0596 | 6557.0537 | 0 | 0 | 144489
2 | 203030000 | Add or deduct over item 1.0 above for providing following grades of concrete for any item of work instead of M-30 Grade concrete. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1 | 203030000 | In M-25 Grade | [8 empty] | Cum. | 3045.78 | -400 | -16 | -19.776 | 0 | 0 | -435.776 | -1327278 | 100 | 3045.78 | -1218312 | -48732.48 | -60233.3453 | 0 | 0 | -1327278
2.2 | 203030000 | In M-35 Grade | [8 empty] | Cum. | 0 | 212 | 8.48 | 10.4813 | 0 | 0 | 230.9613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.3 | 203030000 | In M-40 Grade | [8 empty] | Cum. | 137.41 | 444 | 17.76 | 21.9514 | 0 | 0 | 483.7114 | 66467 | 100 | 137.41 | 61010.04 | 2440.4016 | 3016.3364 | 0 | 0 | 66467
2.4 | 203030000 | In M-45 Grade | [8 empty] | Cum. | 17.07 | 705 | 28.2 | 34.8552 | 0 | 0 | 768.0552 | 13111 | 100 | 17.07 | 12034.35 | 481.374 | 594.9783 | 0 | 0 | 13111
2.5 | 203030000 | In M-50 Grade | [8 empty] | Cum. | 263.72 | 1481 | 59.24 | 73.2206 | 0 | 0 | 1613.4606 | 425502 | 100 | 263.72 | 390569.32 | 15622.7728 | 19309.7472 | 0 | 0 | 425502
3 | 203040000 | Providing & fixing in position, centering and shuttering including | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.1 | 203040000 | For all Centering & Shuttering Work (as mentioned below) - UPTO GROUND FLOOR LEVEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.1.1 | 203040000 | In PCC work below foundation pits, footings, rafts, for plinth protection, copings, sills etc. | [8 empty] | Sqm. | 91.07 | 364 | 14.56 | 17.9962 | 0 | 0 | 396.5562 | 36114 | 100 | 91.07 | 33149.48 | 1325.9792 | 1638.9103 | 0 | 0 | 36114
3.1.2 | 203040000 | In footings, pedestals, strip footings, equipment foundations etc. | [8 empty] | Sqm. | 400.51 | 364 | 14.56 | 17.9962 | 0 | 0 | 396.5562 | 158825 | 100 | 400.51 | 145785.64 | 5831.4256 | 7207.642 | 0 | 0 | 158825
3.1.3 | 203040000 | In raft slabs | [8 empty] | Sqm. | 239.66 | 364 | 14.56 | 17.9962 | 0 | 0 | 396.5562 | 95039 | 100 | 239.66 | 87236.24 | 3489.4496 | 4312.9597 | 0 | 0 | 95039
3.1.4 | 203040000 | In columns in a square / rectangular profile | [8 empty] | Sqm. | 1196.67 | 470 | 18.8 | 23.2368 | 0 | 0 | 512.0368 | 612739 | 100 | 1196.67 | 562434.9 | 22497.396 | 27806.7815 | 0 | 0 | 612739
3.1.6 | 203040000 | In floor beams, tie-beams etc. in straight profile | [8 empty] | Sqm. | 1858.1 | 448 | 17.92 | 22.1491 | 0 | 0 | 488.0691 | 906881 | 100 | 1858.1 | 832428.8 | 33297.152 | 41155.2799 | 0 | 0 | 906881
3.1.8 | 203040000 | In basement retaining walls including chamfers, counterforts etc. (Provision of necessary staging for external face of the retaining wall shall be included in the item) | [8 empty] | Sqm. | 3741.21 | 484 | 19.36 | 23.929 | 0 | 0 | 527.289 | 1972699 | 100 | 3741.21 | 1810745.64 | 72429.8256 | 89523.2644 | 0 | 0 | 1972699
3.1.9 | 203040000 | In lift walls, shear walls, parapet walls etc. | [8 empty] | Sqm. | 1640.65 | 484 | 19.36 | 23.929 | 0 | 0 | 527.289 | 865097 | 100 | 1640.65 | 794074.6 | 31762.984 | 39259.0482 | 0 | 0 | 865097
3.1.10 | 203040000 | In floor slabs in a horizontal / straight profile | [8 empty] | Sqm. | 2870.77 | 448 | 17.92 | 22.1491 | 0 | 0 | 488.0691 | 1401134 | 100 | 2870.77 | 1286104.96 | 51444.1984 | 63585.0292 | 0 | 0 | 1401134
3.1.12 | 203040000 | In stairway waist slabs including steps and midlandings. | [8 empty] | Sqm. | 119.19 | 462 | 18.48 | 22.8413 | 0 | 0 | 503.3213 | 59991 | 100 | 119.19 | 55065.78 | 2202.6312 | 2722.4522 | 0 | 0 | 59991
3.1.17 | 203040000 | Part rate shuttering as perJMR | [8 empty] | Sqm. | 413.17 | 448 | 17.92 | 22.1491 | 0 | 0 | 488.0691 | 201656 | 100 | 413.17 | 185100.16 | 7404.0064 | 9151.3519 | 0 | 0 | 201656
4 | 203040000 | Extra over Item 3.0 above for staging / additional height in centering, shuttering in suspended floors, roofs, landings, beams and cantilevers | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 | 203040000 | Staging / additional height in centering, shuttering upto a total height of 4.05m i.e. additional 0.55m over initial height of 3.5m. (In parking areas of all basement B3, B2 & B1) | [8 empty] | Sqm. | 904.6 | 141 | 5.64 | 6.971 | 0 | 0 | 153.611 | 138957 | 100 | 904.6 | 127548.6 | 5101.944 | 6306.0028 | 0 | 0 | 138957
4.3 | 203040000 | Staging / additional height in centering, shuttering upto a total height of 4.75m i.e. additional 1.25m over initial height of 3.5m. (In upper basement B1 - Kitchen Area) | [8 empty] | Sqm. | 293.71 | 176 | 7.04 | 8.7014 | 0 | 0 | 191.7414 | 56316 | 100 | 293.71 | 51692.96 | 2067.7184 | 2555.6999 | 0 | 0 | 56316
4.5 | 203040000 | Staging / additional height in centering, shuttering upto a total height of 5.85m i.e. additional 2.35m over initial height of 3.5m. (In lower basement B3 - Service Rooms) | [8 empty] | Sqm. | 1469.16 | 268 | 10.72 | 13.2499 | 0 | 0 | 291.9699 | 428951 | 100 | 1469.16 | 393734.88 | 15749.3952 | 19466.2525 | 0 | 0 | 428951
5.1 | 203050000 | TMT bars conforming to IS-1786, grade Fe-500D | [8 empty] | MT. | 573.23 | 60000 | 2400 | 2966.4 | 0 | 0 | 65366.4 | 37469981 | 100 | 573.23 | 34393800 | 1375752 | 1700429.472 | 0 | 0 | 37469981
V | 203060000 | STRUCTURAL STEEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.4 | 203060000 | In MS base plates, gusset plates, connecting plates etc. | [8 empty] | MT. | 0.15 | 97537 | 3901.48 | 4822.2293 | 0 | 0 | 106260.7093 | 15939 | 100 | 0.15 | 14630.55 | 585.222 | 723.3344 | 0 | 0 | 15939
VIII | 203100000 | WATER PROOFING | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203100000 | Providing and laying membrane waterproofing system to the basement and other underground structures | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203100000 | In horizontal areas, below rafts etc. as detailed hereunder: | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.1 | 203100000 | Providing & laying minimum 2.0mm thick flexible PVC synthetic waterproofing membrane system Masterpren BG of BASF | [8 empty] | Sqm. | 2319.39 | 440 | 17.6 | 21.7536 | 0 | 0 | 479.3536 | 1111808 | 100 | 2319.39 | 1020531.6 | 40821.264 | 50455.0823 | 0 | 0 | 1111808
1.2.1a | 203100000 | Stage-I & Stage-II Revised waterproofing (Crystalline method) | [8 empty] | Sqm. | 579 | 483 | 19.32 | 23.8795 | 0 | 0 | 526.1995 | 304670 | 100 | 579 | 279657 | 11186.28 | 13826.2421 | 0 | 0 | 304670
B | 204000000 | SUPERSTRUCTURE WORKS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
II | 204050000 | STRUCTURAL STEEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 204050000 | In MS angles for column guards, nosing in trench walls, steps etc. | [8 empty] | MT. | 0.67 | 90490 | 3619.6 | 4473.8256 | 0 | 0 | 98583.4256 | 66051 | 100 | 0.67 | 60628.3 | 2425.132 | 2997.4632 | 0 | 0 | 66051
9 | 204050000 | Providing & Fixing approved anchor fasteners (manufactured by HILTI | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.1 | 204050000 | Dia 12mm | [8 empty] | Each | 36 | 817 | 32.68 | 40.3925 | 0 | 0 | 890.0725 | 32043 | 100 | 36 | 29412 | 1176.48 | 1454.1293 | 0 | 0 | 32043
VI | 204100000 | MISCELLANEOUS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 204100000 | Supplying and providing Puddle flanges | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.1 | 204100000 | 80mm dia. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 204100000 | Part rate | [8 empty] | Each | 53 | 1221.6 | 48.864 | 60.3959 | 0 | 0 | 1330.8599 | 70536 | 100 | 53 | 64744.8 | 2589.792 | 3200.9829 | 0 | 0 | 70536
9.2 | 204100000 | 100mm dia. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
V | 208000000 | For Vastu Work | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I | 208000000 | EXCAVATION | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 208000000 | Earthwork in mass excavation for basement | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 208000000 | In all types of ordinary and hard soils - | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.1 | 208000000 | Upto the specified RL for all depths | [8 empty] | Cum. | 6.65 | 85 | 3.4 | 4.2024 | 0 | 0 | 92.6024 | 616 | 100 | 6.65 | 565.25 | 22.61 | 27.946 | 0 | 0 | 616
VI | 208000000 | MASONRY | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 208000000 | Providing and constructing Brick Masonry, with locally available first quality bricks of class designation 75 in cement mortar CM 1:6 (1 cement : 6 coarse sand) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 208000000 | 230mm thick and above (nominal dimension) Brick Masonry ( In basement) | [8 empty] | Cum. | 4.87 | 5079 | 203.16 | 251.1058 | 0 | 0 | 5533.2658 | 26947 | 100 | 4.87 | 24734.73 | 989.3892 | 1222.8851 | 0 | 0 | 26947
2 | 208000000 | Providing and constructing Brick masonry in 115mm thick at all levels with locally available first quality bricks in cement mortar CM 1:4 (1 cement : 4 coarse sand) (In superstructure) | [8 empty] | Sqm. | 16.93 | 858 | 34.32 | 42.4195 | 0 | 0 | 934.7395 | 15825 | 60 | 16.93 | 8715.564 | 348.6226 | 430.8975 | 0 | 0 | 9495
VII | 208000000 | INTERNAL PLASTERING | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 208000000 | Providing and applying 15mm thick plaster in cement mortar 1:4 (1 cement : 4 fine sand); to internal surfaces (For internal concrete & masonry surfaces in basements) | [8 empty] | Sqm. | 31.43 | 229 | 9.16 | 11.3218 | 0 | 0 | 249.4818 | 7841 | 100 | 31.43 | 7197.47 | 287.8988 | 355.8429 | 0 | 0 | 7841
II | 208000000 | STRUCTURAL STEEL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 208000000 | Supplying, fabricating, assembling, hoisting / erecting and fixing in position at locations specified below, structural steel works of MS rolled single / built-up sections conforming to IS 2062, | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 208000000 | In MS angles for column guards, nosing in trench walls, steps etc. | [8 empty] | MT. | 0.06 | 90490 | 3619.6 | 4473.8256 | 0 | 0 | 98583.4256 | 5915 | 100 | 0.06 | 5429.4 | 217.176 | 268.4295 | 0 | 0 | 5915
VIII | 203110000 | EXTRA ITEMS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203110000 | P/L Plum concrete | [8 empty] | CUM | 75.654 | 3800 | 152 | 187.872 | 0 | 0 | 4139.872 | 313198 | 100 | 75.654 | 287485.2 | 11499.408 | 14213.2683 | 0 | 0 | 313198
2 | 107000000 | P/L GI Sheet for store roofing | [8 empty] | SQM | 6.669 | 700 | 28 | 34.608 | 0 | 0 | 762.608 | 5086 | 100 | 6.669 | 4668.3 | 186.732 | 230.8008 | 0 | 0 | 5086
3 | 203110000 | P/L GI Pipe for raft pressure release. | [8 empty] | RMT | 50 | 211 | 8.44 | 10.4318 | 0 | 0 | 229.8718 | 11494 | 100 | 50 | 10550 | 422 | 521.592 | 0 | 0 | 11494
4 | 203010000 | Additional rate for pressure gruniting for retaining of soil | [8 empty] | SQM | 789 | 1890 | 75.6 | 93.4416 | 0 | 0 | 2059.0416 | 1624584 | 100 | 789 | 1491210 | 59648.4 | 73725.4224 | 0 | 0 | 1624584
4.1 | 203110000 | amuont paid in Item no 5 of tender item | [8 empty] | Sqm | 438 | -568 | -22.72 | -28.0819 | 0 | 0 | -618.8019 | -271035 | 100 | 438 | -248784 | -9951.36 | -12299.881 | 0 | 0 | -271035
5 | 203110000 | Loss incurred due to haphazard backfilling | [8 empty] | LS | 1 | 1411626.22 | 56465.0488 | 69790.8003 | 0 | 0 | 1537882.0691 | 1537882 | 100 | 1 | 1411626.22 | 56465.0488 | 69790.8003 | 0 | 0 | 1537882
6 | 203110000 | Repair of concrete Pump. | [8 empty] | LS | 1 | 161000 | 6440 | 7959.84 | 0 | 0 | 175399.84 | 175400 | 100 | 1 | 161000 | 6440 | 7959.84 | 0 | 0 | 175400
7 | 203110000 | Rental charges for concrete pump | [8 empty] | LS | 1 | 56000 | 2240 | 2768.64 | 0 | 0 | 61008.64 | 61009 | 100 | 1 | 56000 | 2240 | 2768.64 | 0 | 0 | 61009
8 | 203010000 | Backfilling with selected approved earth brought from outside. Extra on item no 3.2 backfilling | [8 empty] | CUM | 7182 | 176.04 | 7.0416 | 8.7034 | 0 | 0 | 191.785 | 1377400 | 100 | 7182 | 1264319.28 | 50572.7712 | 62507.9452 | 0 | 0 | 1377400
9 | 203050000 | Rebaring work | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | 203050000 | 8mm | [8 empty] | Nos | 117 | 99 | 3.96 | 4.8946 | 0 | 0 | 107.8546 | 12619 | 100 | 117 | 11583 | 463.32 | 572.6635 | 0 | 0 | 12619
ii | 203050000 | 10mm | [8 empty] | Nos | 130 | 117 | 4.68 | 5.7845 | 0 | 0 | 127.4645 | 16570 | 100 | 130 | 15210 | 608.4 | 751.9824 | 0 | 0 | 16570
iii | 203050000 | 12mm | [8 empty] | Nos | 399 | 385 | 15.4 | 19.0344 | 0 | 0 | 419.4344 | 167354 | 100 | 399 | 153615 | 6144.6 | 7594.7256 | 0 | 0 | 167354
iv | 203050000 | 16mm | [8 empty] | Nos | 175 | 782 | 31.28 | 38.6621 | 0 | 0 | 851.9421 | 149090 | 100 | 175 | 136850 | 5474 | 6765.864 | 0 | 0 | 149090
v | 203050000 | 20mm | [8 empty] | Nos | 170 | 1320 | 52.8 | 65.2608 | 0 | 0 | 1438.0608 | 244470 | 100 | 170 | 224400 | 8976 | 11094.336 | 0 | 0 | 244470
vi | 203050000 | 25mm | [8 empty] | Nos | 11 | 1378 | 55.12 | 68.1283 | 0 | 0 | 1501.2483 | 16514 | 100 | 11 | 15158 | 606.32 | 749.4115 | 0 | 0 | 16514
vii | 203050000 | 32mm | [8 empty] | nos | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 203110000 | Pipe driving (MS Perforated for raft) | [8 empty] | LS | 1 | 32460 | 1298.4 | 1604.8224 | 0 | 0 | 35363.2224 | 35363 | 100 | 1 | 32460 | 1298.4 | 1604.8224 | 0 | 0 | 35363
12 | 203110000 | Providing and laying in position ready mixed plain cement concrete manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix cement concrete of M-15 Grade. for making bandh all around the plot | [8 empty] | m3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 203110000 | Reinforcement bar cutting by using gas cutter | [8 empty] | LS | 1 | 10000 | 400 | 494.4 | 0 | 0 | 10894.4 | 10894 | 100 | 1 | 10000 | 400 | 494.4 | 0 | 0 | 10894
14 | 203040000 | Shuttering for the above item 12 | [8 empty] | LS | 123 | 364 | 14.56 | 17.9962 | 0 | 0 | 396.5562 | 48776 | 100 | 123 | 44772 | 1790.88 | 2213.5277 | 0 | 0 | 48776
15 | 203110000 | Supply of Manpower | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | 203110000 | Mason | [8 empty] | Mandays | 4.38 | 400 | 16 | 19.776 | 0 | 0 | 435.776 | 1909 | 100 | 4.38 | 1752 | 70.08 | 86.6189 | 0 | 0 | 1909
ii | 203110000 | Helper | [8 empty] | Mandays | 64.5 | 250 | 10 | 12.36 | 0 | 0 | 272.36 | 17567 | 100 | 64.5 | 16125 | 645 | 797.22 | 0 | 0 | 17567
IX | 203000000 | Price Variation for Steel Reinforcement and RMC Concrete | [8 empty] | No. | 1 | 1762252.94 | 70490.1176 | 87125.7854 | 0 | 0 | 1919868.843 | 1919869 | 100 | 1 | 1762252.94 | 70490.1176 | 87125.7854 | 0 | 0 | 1919869
X | 203110000 | List of Material Handover | [8 empty] | Nil | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 203110000 | Sign board of LDA at gate | [8 empty] | Nos | 1 | 8500 | 340 | 420.24 | 0 | 0 | 9260.24 | 9260 | 100 | 1 | 8500 | 340 | 420.24 | 0 | 0 | 9260
2 | 203110000 | Potacabin with AC | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 203110000 | Water tank for CHPL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 203110000 | Cost of shuttering material | [8 empty] | Nos | 1 | 766045.8 | 30641.832 | 37873.3044 | 0 | 0 | 834560.9364 | 834561 | 100 | 1 | 766045.8 | 30641.832 | 37873.3044 | 0 | 0 | 834561
5 | 203110000 | Furniture for portacabin | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 203110000 | Misc. material handed over to CHPL | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | 203110000 | OLD GI Sheet 2x5"x10 and OLD GI Sheet 2x5"x8 | [8 empty] | Nos | 1 | 70000 | 2800 | 3460.8 | 0 | 0 | 76260.8 | 76261 | 100 | 1 | 70000 | 2800 | 3460.8 | 0 | 0 | 76261
ii | 203110000 | Door colums (2mtr) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
iii | 203110000 | Purlin (2mtr) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
iv | 203110000 | Corner columns (2mtr) | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
v | 203110000 | Gable side runners | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
vi | 203110000 | Side runners | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
vii | 203110000 | Truss joint | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
viii | 203110000 | Floor centers | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ix | 203110000 | U Jacks | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | 203110000 | Cable 2.5sqmm 4core | [8 empty] | Nos | 217 | 42 | 1.68 | 2.0765 | 0 | 0 | 45.7565 | 9929 | 100 | 217 | 9114 | 364.56 | 450.5962 | 0 | 0 | 9929
xi | 203110000 | Cable 2.5sqmm 2core | [8 empty] | Nos | 156 | 31.5 | 1.26 | 1.5574 | 0 | 0 | 34.3174 | 5354 | 100 | 156 | 4914 | 196.56 | 242.9482 | 0 | 0 | 5354
xii | 203110000 | Cable 2.5sqmm 3core | [8 empty] | Nos | 12.5 | 56 | 2.24 | 2.7686 | 0 | 0 | 61.0086 | 763 | 100 | 12.5 | 700 | 28 | 34.608 | 0 | 0 | 763
xiii | 203110000 | Cable 4sqmm 4core | [8 empty] | Nos | 48 | 33.6 | 1.344 | 1.6612 | 0 | 0 | 36.6052 | 1757 | 100 | 48 | 1612.8 | 64.512 | 79.7368 | 0 | 0 | 1757
xiv | 203110000 | Cable 16 sqm 4core | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
xv | 203110000 | Socket 16 Amp | [8 empty] | Nos | 13 | 279.3 | 11.172 | 13.8086 | 0 | 0 | 304.2806 | 3956 | 100 | 13 | 3630.9 | 145.236 | 179.5117 | 0 | 0 | 3956
xvi | 203110000 | RCB 63 Amp | [8 empty] | Nos | 1 | 5950 | 238 | 294.168 | 0 | 0 | 6482.168 | 6482 | 100 | 1 | 5950 | 238 | 294.168 | 0 | 0 | 6482
xvii | 203110000 | Sodium Lamo 400W | [8 empty] | Nos | 9 | 3010 | 120.4 | 148.8144 | 0 | 0 | 3279.2144 | 29513 | 100 | 9 | 27090 | 1083.6 | 1339.3296 | 0 | 0 | 29513
xviii | 203110000 | Sodium Lamo 250W | [8 empty] | Nos | 1 | 2660 | 106.4 | 131.5104 | 0 | 0 | 2897.9104 | 2898 | 100 | 1 | 2660 | 106.4 | 131.5104 | 0 | 0 | 2898
xix | 203110000 | Submersible pump | [8 empty] | Nos | 1 | 50000 | 2000 | 2472 | 0 | 0 | 54472 | 54472 | 100 | 1 | 50000 | 2000 | 2472 | 0 | 0 | 54472

## COP Facesheet
CHARTERED HOTELS PVT. LTD.
CERTIFICATE OF PAYMENT
COP No.:- |  |  |  |  | Date.:- 27/07/2011
Project Code:- |  | 006 |  |  | Not For Payment
Project:- |  | Proposed Five Star Hotel At Lucknow
Work: | Civil Works (Shell And Core) |  |  | M/s. Billimoria & Co. Ltd
Budget Code:- |  |  |  | Shivsagar Estate A Block, 2nd Floor. Dr A.B. Road, Worli, Mumbai-400018
W.O. / P.O. No. & Date:- |  |  | CHPL/006/WO/12-13/0305, Dated 31st Dec 2013 | PAN No.:- AAACB1542P
Original W.O. Value:- |  |  | INR 454148527 | VAT No.:- CST NO- Service Tax No:-
WO Amendment No.:- |  |  |  | Invoice No. BLR-007/2010 dated 22 nd Dec 2010
Amended WO/PO Value:-
Sr. No. | Description of Work |  |  | Previous Certified Amount INR | Current Certified Amount INR | Cumulative Certified Amount INR
| Certificate Type:- |  |  |  | I
| Certificate No.:- |  |  |  | R003
A | Work Done Amount
1 | Net Supply and Installation Amount |  |  |  | 93771768 | 93771768
2 | VAT |  |  |  | 3750871 | 3750871
3 | Service Tax. |  |  |  | 4636076 | 4636076
4 | CESS |  |  |  | 0 | 0
5 | Others |  |  |  | 0 | 0
A | Gross Amount for Work Done As per this Bill |  |  | 0 | 102158715 | 102158715
B | Recoveries:-
1 | Recovery of Advance (@11.7647% Of Net Work done) |  |  |  |  | 41610032
2 | Recovery of Material Advance |  |  |  |  | 26145333
3 | Debit for open NCRs-as per attached sheet |  |  |  |  | 115000
4 | Recovery of Advance payment for soil supply and filling |  |  |  |  | 2734290
5 | Recovery of Subcontractors payment of BEBL |  |  |  |  | 2623070
6 | Recovery of RMC Payment |  |  |  |  | 1130575
7 | Recovery for shorage of Client supplied steel reinforcement |  |  |  |  | 495642.37
8 | Retention Amount (as per Contract Conditions 5%)
9 | Non Conformity of Concrete |  |  |  | 0
10 | Miscellaneous
B | Total Gross Recoveries:- |  |  | 0 | 74853942.37 | 74853942.37
C | Other Payments |  |  |  | 0
1 | Mobilisation Advance |  |  |  | 0
2 | Ad-Hoc Certification |  |  |  | 0
3 | Secured Advance |  |  |  | 26145333 | 26145333
4 | Travel Reimbursement
| Net Amount of Other Payments |  |  |  | 0
| Service Tax ON Other Payments, if any. |  |  |  | 0
C | Gross Amount for Other Payments |  |  | 0 | 26145333 | 26145333
| Gross Certified as Per This Bill A-B+C |  |  |  | 53450105.63 | 53450105.63
Rs. (In Words):
Mode of Payment:-
Remarks:-
Prepared By |  | Checked By |  | Approved By | Approved By
QS and Contracts |  | Asst.GM - Contracts |  | GM -Project | GM -Contracts
CHPL
CHPL
CHPL