## Order
Scenario 3
Local Supply
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY | RATE (can be entered directly or summed up for totals)
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Local supply rate | [5 empty] | Installation Rate |  |  |  | Amount
[13 empty] | Basic Rate | Excise | Subtotal = Basic + Excise | VAT/CST on Subtotal | Others | Supply Rate Total (sum or direct entry) | Basic Rate | Service Tax | Other | Installation Rate Total (sum or direct entry) | LOCAL SUPPLY AMOUNT | INSTALLATION AMOUNT | TOTAL AMOUNT
1 | 105000000 | Supply & installation of 300 mm dia RCC NP-2 Class pipes with sand cement jointing(60% Payment) | [8 empty] | Mtrs | 150 | 820 | 0 | 820 | 41 | 0 | 861 | 380 | 46.968 | 0 | 426.968 | 129150 | 64045.2 | 193195.2
1.1 | 105000000 | Supply & installation of 300 mm dia RCC NP-2 Class pipes with sand cement jointing (40% Payment) | [8 empty] | Mtrs | 150 | 820 | 0 | 820 | 41 | 0 | 861 | 380 | 46.968 | 0 | 426.968 | 129150 | 64045.2 | 193195.2
2 | 105000000 | Supply & Laying Rubble stone Soling 300mm height | [8 empty] | Sq.mtr | 150 | 550 | 0 | 550 | 27.5 | 0 | 577.5 | 200 | 24.72 | 0 | 224.72 | 86625 | 33708 | 120333
3 | 105000000 | Supply & Laying of 3mm wire mesh | [8 empty] | Sq.mtr | 150 | 200 | 0 | 200 | 25 | 0 | 225 | 60 | 7.416 | 0 | 67.416 | 33750 | 10112.4 | 43862.4
4 | 105000000 | PCC 1:3:6 for pipe encasing and bedding | [8 empty] | Cum | 50 | 4400 | 0 | 4400 | 220 | 0 | 4620 | 800 | 98.88 | 0 | 898.88 | 231000 | 44944 | 275944
5 | 105000000 | Constructing 900 x 450 mm size valve chambers upto 2000mm depth in brick work masonry with Medium duty RCC cover | [8 empty] | Nos | 9 | 14000 | 0 | 14000 | 700 | 0 | 14700 | 4000 | 494.4 | 0 | 4494.4 | 132300 | 40449.6 | 172749.6
6 | 105000000 | Excavation in soft soil | [8 empty] | Cum | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 24.72 | 0 | 224.72 | 0 | 80899.2 | 80899.2
7 | 105000000 | Backfilling | [8 empty] | Cum | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 18.54 | 0 | 168.54 | 0 | 50562 | 50562
8 | 105000000 | Supply of manpower of 8 Hrs. working time | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.1 | 105000000 | Plumber | [8 empty] | Per day | 166 | 0 | 0 | 0 | 0 | 0 | 0 | 878.16 | 108.5406 | 0 | 986.7006 | 0 | 163792.2956 | 163792.2956
8.2 | 105000000 | Plumber O.T. ( For 8 Hrs.) | [8 empty] | Per day | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 1030 | 127.308 | 0 | 1157.308 | 0 | 138876.96 | 138876.96
8.3 | 105000000 | Helper | [8 empty] | Per day | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 648.16 | 80.1126 | 0 | 728.2726 | 0 | 94675.4349 | 94675.4349
8.4 | 105000000 | Helper O.T. (For 8 Hrs.) | [8 empty] | Per day | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 800 | 98.88 | 0 | 898.88 | 0 | 107865.6 | 107865.6
9 | 105000000 | Extra Works | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.1 | 105000000 | Providing arrangement to carry out cleaning of choked drainage manhole chamber of sewage line and to repair the damage including civil work and pipe line repair work | [8 empty] | LS | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 27500 | 3399 | 0 | 30899 | 0 | 30899 | 30899
9.2 | 105000000 | Supply and installation of 150 mm diastoneware pipes with sand cement jointing | [8 empty] | Mtrs | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 504 | 62.2944 | 0 | 566.2944 | 0 | 679.5533 | 679.5533
9.3 | 105000000 | Supply and installation of 110 mm dia PVC pipe | [8 empty] | Mtrs | 25.15 | 0 | 0 | 0 | 0 | 0 | 0 | 294 | 36.3384 | 0 | 330.3384 | 0 | 8308.0108 | 8308.0108
9.4 | 105000000 | JCB Rental Charges | [8 empty] | Hrs | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 840 | 103.824 | 0 | 943.824 | 0 | 3869.6784 | 3869.6784

## Certification
Scenario 3
Local Supply + Installation | [24 empty] | 1679707.1329 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY | RATE (can be entered directly or summed up for totals)
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Local supply rate | [5 empty] | Installation Rate |  |  |  | Amount |  |  | LOCAL SUPPLY CERTIFICATION | [7 empty] | INSTALLATION CERTIFICATION |  |  |  | CERTIFICATION TOTAL
[13 empty] | Basic Rate | Excise | Subtotal = Basic + Excise | VAT/CST on Subtotal | Others | Supply Rate Total (sum or direct entry) | Basic Rate | Service Tax | Other | Installation Rate Total (sum or direct entry) | LOCAL SUPPLY AMOUNT | INSTALLATION AMOUNT | TOTAL AMOUNT | COP Percentage | COP Quantity | COP Supply Basic | COP Excise | COP Sub Total | COP VAT / CST | COP SupplyOthers | COP Supply Total | COP Installation Basic | COP Service TAX | COP Others | COP Installation Total | TOTAL COP AMOUNT
1 | 105000000 | Supply & installation of 300 mm dia RCC NP-2 Class pipes with sand cement jointing(60% Payment) | [8 empty] | Mtrs | 150 | 820 | 0 | 820 | 41 | 0 | 861 | 380 | 46.968 | 0 | 426.968 | 129150 | 64045.2 | 193195.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 105000000 | Supply & installation of 300 mm dia RCC NP-2 Class pipes with sand cement jointing (40% Payment) | [8 empty] | Mtrs | 150 | 820 | 0 | 820 | 41 | 0 | 861 | 380 | 46.968 | 0 | 426.968 | 129150 | 64045.2 | 193195.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 105000000 | Supply & Laying Rubble stone Soling 300mm height | [8 empty] | Sq.mtr | 150 | 550 | 0 | 550 | 27.5 | 0 | 577.5 | 200 | 24.72 | 0 | 224.72 | 86625 | 33708 | 120333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 105000000 | Supply & Laying of 3mm wire mesh | [8 empty] | Sq.mtr | 150 | 200 | 0 | 200 | 25 | 0 | 225 | 60 | 7.416 | 0 | 67.416 | 33750 | 10112.4 | 43862.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 105000000 | PCC 1:3:6 for pipe encasing and bedding | [8 empty] | Cum | 50 | 4400 | 0 | 4400 | 220 | 0 | 4620 | 800 | 98.88 | 0 | 898.88 | 231000 | 44944 | 275944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 105000000 | Constructing 900 x 450 mm size valve chambers upto 2000mm depth in brick work masonry with Medium duty RCC cover | [8 empty] | Nos | 9 | 14000 | 0 | 14000 | 700 | 0 | 14700 | 4000 | 494.4 | 0 | 4494.4 | 132300 | 40449.6 | 172749.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 105000000 | Excavation in soft soil | [8 empty] | Cum | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 24.72 | 0 | 224.72 | 0 | 80899.2 | 80899.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 105000000 | Backfilling | [8 empty] | Cum | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 18.54 | 0 | 168.54 | 0 | 50562 | 50562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 105000000 | Supply of manpower of 8 Hrs. working time | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.1 | 105000000 | Plumber | [8 empty] | Per day | 166 | 0 | 0 | 0 | 0 | 0 | 0 | 878.16 | 108.5406 | 0 | 986.7006 | 0 | 163792.2956 | 163792.2956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.2 | 105000000 | Plumber O.T. ( For 8 Hrs.) | [8 empty] | Per day | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 1030 | 127.308 | 0 | 1157.308 | 0 | 138876.96 | 138876.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.3 | 105000000 | Helper | [8 empty] | Per day | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 648.16 | 80.1126 | 0 | 728.2726 | 0 | 94675.4349 | 94675.4349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.4 | 105000000 | Helper O.T. (For 8 Hrs.) | [8 empty] | Per day | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 800 | 98.88 | 0 | 898.88 | 0 | 107865.6 | 107865.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 105000000 | Extra Works | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.1 | 105000000 | Providing arrangement to carry out cleaning of choked drainage manhole chamber of sewage line and to repair the damage including civil work and pipe line repair work | [8 empty] | LS | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 27500 | 3399 | 0 | 30899 | 0 | 30899 | 30899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.2 | 105000000 | Supply and installation of 150 mm diastoneware pipes with sand cement jointing | [8 empty] | Mtrs | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 504 | 62.2944 | 0 | 566.2944 | 0 | 679.5533 | 679.5533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.3 | 105000000 | Supply and installation of 110 mm dia PVC pipe | [8 empty] | Mtrs | 25.15 | 0 | 0 | 0 | 0 | 0 | 0 | 294 | 36.3384 | 0 | 330.3384 | 0 | 8308.0108 | 8308.0108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.4 | 105000000 | JCB Rental Charges | [8 empty] | Hrs | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 840 | 103.824 | 0 | 943.824 | 0 | 3869.6784 | 3869.6784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## COP Facesheet
CHARTERED HOTELS PVT. LTD.
CERTIFICATE OF PAYMENT
COP No.:- |  |  |  |  | Date.:- 27/07/2011
Project Code:- |  | 006 |  |  | Not For Payment
Project:- |  | Proposed Five Star Hotel at Lucknow
Work: | Supply, Installation, Testing & Commissioning of Sewage Piping |  |  | M/s. Canter Engineers Pvt. Ltd
Budget Code:- |  |  |  | 201, Carnation Plaza Building No.1, Parijat Gardens, Ghodbunder road, Kasarwadavli Naka, Thane (W)-400607
W.O. / P.O. No. & Date:- |  |  | CHPL/006/WO/13-14/Site/018 | PAN No.:- AACCC4796J
Original W.O. Value:- |  |  | 1679707.1329 | VAT No.:- CST NO- Service Tax No:- AACCC4796JST001
WO Amendment No.:- |  |  |  | Invoice No. CEPL/CHPL/431/13-14/RA03 Dated :- 28th Nov 2013
Amended WO/PO Value:-
Sr. No. | Description of Work |  |  | Previous Certified Amount INR | Current Certified Amount INR | Cumulative Certified Amount INR
Certificate Type:-
Certificate No.:-
A | Work Done Amount
1 | Net Supply Amount |  |  |  | 0 | 0
2 | Net Installation Amount |  |  |  | 0 | 0
3 | VAT |  |  |  | 0 | 0
4 | Service Tax. |  |  |  | 0 | 0
5 | Supply and Installation Others |  |  |  | 0 | 0
A | Gross Amount for Work Done As per this Bill |  |  | 0 | 0 | 0
B | Recoveries:-
1 | Recovery of Advance (@13.333%)
2 | Recovery of water Charges for Water Consumed
3 | Recovery of Power ( For Electricity Consumed)
4 | Recovery of Monthly Advance ( if any)
5 | Recovery of unsecured Advance( Including Expired Bank Guarantee
6 | Recovery of Insurance Premium
7 | Debit for Non removing of debris
8 | Retention Amount (as per Contract Conditions 5%)
9 | Non Conformity of Concrete |  |  |  | 0
10 | Miscellaneous
B | Total Gross Recoveries:- |  |  | 0 | 0 | 0
C | Other Payments |  |  |  | 0
1 | Mobilisation Advance |  |  |  | 0
2 | Ad-Hoc Certification |  |  |  | 0
3 | Secured Advance |  |  |  | 0
4 | Travel Reimbursement
| Net Amount of Other Payments |  |  |  | 0
| Service Tax ON Other Payments, if any. |  |  |  | 0
C | Gross Amount for Other Payments |  |  | 0 | 0 | 0
| Gross Certified as Per This Bill A-B+C |  |  |  | 0 | 0
Rs. (In Words):
Mode of Payment:-
Remarks:-
Prepared By |  | Checked By |  | Approved By | Approved By
QS and Contracts |  | Asst.GM - Contracts |  | GM -Project | GM -Contracts
CHPL
CHPL
CHPL