## Order
Scenario 4
Single rate for supply + install
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Supply + Installation Rate
[13 empty] | Basic Rate | VAT | Service | CESS | Other | supply + Installation total | Amount
1 | 203010000 | Mobilisation of all plant & equipment for shore piling works with all necessary shifting within the site and demobilisation of the same after completion of work, clearing the area, surface preparation for rig movement, removal and disposal out of site of any earth / hard layer laid for rig movement / slush / bentonite slurry etc. including lay-out & marking of pile locations / centre line at site all complete as directed by the Engineer. No additional mobilisation charges shall be paid for additional rigs mobilised at site if required to meet the schedule. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1 | 203010000 | For Shore Piling Works using Hydraulic Rotary Rigs/ conventional rig depending upon the site suitability. | [8 empty] | Job | 1 | 1500000 | 0 | 74160 | 0 | 0 | 1574160 | 1574160
2 | 203010000 | Boring of RCC bored cast-in situ shore piles using Hydaulic Rotary Rigs/conventional Rigs in all types of soil strata as per IS : 2911(Part-1/Sec-2) for the following sizes and average length measured from existing ground level to the bottom of pile. Rate shall include the cost of the complete items for all leads & lifts, including use of piling equipment and accessories, labour, materials, temporary casing, operational cost, empty boring, cost of shifting, removal and disposal of muck and bentonite slurry outside site, water, power and all other temporary infrastructure required to carry out the piling works but excluding the concrete & reinforcement steel. | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1 | 203010000 | Boring (including empty boring) using permanenet casing / bentonite in all types of soils / slush /soft or weathered rock / breccia / boulders / hard rock etc. (from existing ground level to founding strata) ( permanenet casing shall be paid to us separately) | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1.1 | 203010000 | For Shore piles of 1200mm dia. | [8 empty] | Rmt. | 742 | 3300 | 0 | 163.152 | 0 | 0 | 3463.152 | 2569659
3 | 203010000 | Designing, providing and laying in position ready mixed cement concrete manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix for all RCC works, cement concrete of grade M-25 by tremie method for vertical bored cast-in situ piles using graded stone aggregates of maximum 20mm nominal size obtained from approved quarry, coarse sand conforming to latest IS : 383 and cement as per approved design mix proportions conforming to latest IS : 456 including | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.1 | 203010000 | providing & mixing of admixtures in recommended proportions as per IS 9103 to accelerate / retard setting of concrete, improve workability without impairing strength and durability, including pumping of ready mixed cement concrete from transit mixer to point / location of laying, excluding the cost of reinforcement but including the cost of length of the pile to be embedded in the capping beam, all materials, labour, consumables, casting to required levels by tremie method, making good the land area after completion of piling etc. complete all as per technical specifications, detailed drawings and as directed by the Engineer. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2 | 203010000 | For Shore / contiguous piles of 600 mm dia. | [8 empty] | cum | 840 | 8250 | 0 | 407.88 | 0 | 0 | 8657.88 | 7272619
4 |  | Excavation - Earthwork in excavation by grabbing., to required level in both dry and wet conditions, including stripping of any top loose soil, slush removal, pumping & bailing out water, de-watering if any so as to keep the excavation in dry condition at any stage of work and carting selected & approved (by Engineer) excavated material away by mechanical means at all leads and lifts to the contractor's own dumping ground, dumping the soil, stacking / spreading & leveling etc. all complete as specified and directed by the Engineer.(Note:- Selected top soil to be stored in plot area if so directed by the Engineer). | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.1 |  | Rate shall include for excavation for all leads & lifts, loading, unloading & double handling wherever required, dressing the excavation to proper level and grade as required, taking necessary precautions to prevent any spillages or spoiling of the premises / public roads during removal & transporting the soil, providing & installing dewatering system etc. complete, as directed. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 |  | Rate for soft / weathered rock excavation shall include for disposing the rock by mechanical means including, breaking the rocks, concrete / old masonry etc. in foundation /trenches to the required size if required, for easy conveyance, etc complete, as directed. The quoted rate shall be deemed to have considered the above stipulation. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.3 |  | Note :- 1) The contractor shall arrange to obtain necessary permission from the local authority & make payment to the local authority if any, for the disposal of drainage water. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.4 |  | 2) All treasures, artifacts, precious metals, utensils, whether ancient or modern, found during the excavation work, should be handed over by the Contractor to the Employer. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.5 |  | 3) The contractor should also make sure that the wheels / tyres of the hauling vehicle are adequately cleaned with water prior to leaving the site so that no mud / dirt tracks are smudged during transit outside the site premises. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.6 |  | In all types of ordinary and hard soils -These shall include all kinds of soils containing kankar, sand, silt, murrum and/or shingle, gravel, clay, loam, peat, ash, shale, etc., | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.7 |  | Rate shall include for excavating selected top soil and storing it in plot area for its reuse as directed by the Engineer | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.7.1 |  | Upto 3 mtr from existing ground level | [8 empty] | Cum. | 505 | 600 | 0 | 29.664 | 0 | 0 | 629.664 | 317980
5 |  | Providing and laying in position ready mixed cement concrete manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix for all PCC Works, cement concrete of M-15 Grade using graded stone aggregates of maximum 20mm nominal size obtained from approved quarry, coarse sand conforming to latest IS : 383 and cement as per approved design mix proportions conforming to latest IS : 456 including | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.1 |  | providing & mixing of admixtures in recommended proportions as per IS 9103 to accelerate / retard setting of concrete, improve workability without impairing strength and durability, including pumping of ready mixed cement concrete from transit mixer to site of laying, including the cost of centring & shuttering, finishing to required levels, curing, dewatering, roughening, removal of spills etc.complete all as per the directions of the Engineer. Rate also shall include lift charges and scaffolding for all levels and heights etc. complete as directed by the Engineer. (Inserts, pipe embedments, pipe sleeves etc. will be measured and paid separately). | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.2 |  | Below capping beams in shore piling works | [8 empty] | Cum. | 8 | 5200 | 0 | 257.088 | 0 | 0 | 5457.088 | 43657
6 |  | Providing and laying in position ready mixed cement concrete manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix for all RCC Works, cement concrete of M-25 Grade using graded stone aggregates of maximum 20mm nominal size obtained from approved quarry, coarse sand conforming to latest IS : 383 and cement as per approved design mix proportions conforming to latest IS : 456 including | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.1 |  | providing & mixing of admixtures in recommended proportions as per IS 9103 to accelerate / retard setting of concrete, improve workability without impairing strength and durability, including pumping of ready mixed cement concrete from transit mixer to site of laying, including finishing to required levels, | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.2 |  | curing, dewatering, roughening and or hacking exposed concrete surfaces for key for plastering, grinding with carborandum stones over concrete spills / level difference in joints of concrete but excluding the cost of centering, shuttering and steel reinforcement. Rate also shall include lift charges and scaffolding for all levels and heights etc. complete as directed by the Engineer. (Inserts, pipe embedments, pipe sleeves etc. will also be paid separately). | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.3 |  | In capping beams | [8 empty] | Cum. | 34 | 6500 | 0 | 321.36 | 0 | 0 | 6821.36 | 231926
7 |  | Providing & fixing in position, centering and shuttering including strutting, scaffolding, propping, bracing or otherwise supporting formwork for concrete items as indicated and deshuttering on specified duration after concreting with all leads and lifts; ; the formwork shall provide all necessary shapes, sizes, joints and any other detail as shown in the drawings and as directed by the Engineer | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.1 |  | In capping beams | [8 empty] | Sqm. | 55 | 500 | 0 | 24.72 | 0 | 0 | 524.72 | 28860
8 |  | Providing and fixing in position following steel reinforcement bars (tested quality) in all categories and for all heights, levels, locations etc. including straightening, cutting, bending, hooking, binding with 18 gauge galvanized binding wires, welding and keeping it in position during concreting by means of stays, blocks, ties, spacers, chairs, hangars, etc. complete as per drawings and as directed by Engineer. The rate shall include for binding wire, cover blocks, labour, loading and un-loading charges, transporation & other incidental charges. Only authorised laps, spacers, hooks and hangars shall be measured and paid for. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.1 |  | TMT bars conforming to IS-1786, grade Fe-500 | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.1.1 |  | For shore | [8 empty] | MT. | 71 | 68000 | 0 | 3361.92 | 0 | 0 | 71361.92 | 5066696
8.1.2 |  | For capping beams | [8 empty] | MT. | 2 | 68000 | 0 | 3361.92 | 0 | 0 | 71361.92 | 142724
9 |  | Providing, fabricating and fixing MS Liner for piles . | [8 empty] | MT | 71 | 88000 | 0 | 4350.72 | 0 | 0 | 92350.72 | 6556901
10 |  | Providing all material, guniting vertical surface of the piling vertical side and providing skin wall of 50 mm infront of the pile vertical surface. | [8 empty] | sqm | 0 | 6450 | 0 | 318.888 | 0 | 0 | 6768.888 | 0

## Certification
Scenario 4
Single rate for supply + install | [18 empty] | 23805182 |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Supply + Installation Rate | [6 empty] | CERTIFICATION
[13 empty] | Basic Rate | VAT | Service | CESS | Other | supply + Installation total | Amount | COP Percentage | COP Quantity | COP Basic | COP VAT | COP SERVICE | COP CESS | COP Others | COP TOTAL
1 |  | Mobilisation of all plant & equipment for shore piling works with all necessary shifting within the site and demobilisation of the same after completion of work, clearing the area, surface preparation for rig movement, removal and disposal out of site of any earth / hard layer laid for rig movement / slush / bentonite slurry etc. including lay-out & marking of pile locations / centre line at site all complete as directed by the Engineer. No additional mobilisation charges shall be paid for additional rigs mobilised at site if required to meet the schedule. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
1.1 |  | For Shore Piling Works using Hydraulic Rotary Rigs/ conventional rig depending upon the site suitability. | [8 empty] | Job | 1 | 1500000 | 0 | 74160 | 0 | 0 | 1574160 | 1574160 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 |  | Boring of RCC bored cast-in situ shore piles using Hydaulic Rotary Rigs/conventional Rigs in all types of soil strata as per IS : 2911(Part-1/Sec-2) for the following sizes and average length measured from existing ground level to the bottom of pile. Rate shall include the cost of the complete items for all leads & lifts, including use of piling equipment and accessories, labour, materials, temporary casing, operational cost, empty boring, cost of shifting, removal and disposal of muck and bentonite slurry outside site, water, power and all other temporary infrastructure required to carry out the piling works but excluding the concrete & reinforcement steel. | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2.1 |  | Boring (including empty boring) using permanenet casing / bentonite in all types of soils / slush /soft or weathered rock / breccia / boulders / hard rock etc. (from existing ground level to founding strata) ( permanenet casing shall be paid to us separately) | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2.1.1 |  | For Shore piles of 1200mm dia. | [8 empty] | Rmt. | 742 | 3300 | 0 | 163.152 | 0 | 0 | 3463.152 | 2569659 |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 |  | Designing, providing and laying in position ready mixed cement concrete manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix for all RCC works, cement concrete of grade M-25 by tremie method for vertical bored cast-in situ piles using graded stone aggregates of maximum 20mm nominal size obtained from approved quarry, coarse sand conforming to latest IS : 383 and cement as per approved design mix proportions conforming to latest IS : 456 including | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
3.1 |  | providing & mixing of admixtures in recommended proportions as per IS 9103 to accelerate / retard setting of concrete, improve workability without impairing strength and durability, including pumping of ready mixed cement concrete from transit mixer to point / location of laying, excluding the cost of reinforcement but including the cost of length of the pile to be embedded in the capping beam, all materials, labour, consumables, casting to required levels by tremie method, making good the land area after completion of piling etc. complete all as per technical specifications, detailed drawings and as directed by the Engineer. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
3.2 |  | For Shore / contiguous piles of 600 mm dia. | [8 empty] | cum | 840 | 8250 | 0 | 407.88 | 0 | 0 | 8657.88 | 7272619 |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 |  | Excavation - Earthwork in excavation by grabbing., to required level in both dry and wet conditions, including stripping of any top loose soil, slush removal, pumping & bailing out water, de-watering if any so as to keep the excavation in dry condition at any stage of work and carting selected & approved (by Engineer) excavated material away by mechanical means at all leads and lifts to the contractor's own dumping ground, dumping the soil, stacking / spreading & leveling etc. all complete as specified and directed by the Engineer.(Note:- Selected top soil to be stored in plot area if so directed by the Engineer). | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
4.1 |  | Rate shall include for excavation for all leads & lifts, loading, unloading & double handling wherever required, dressing the excavation to proper level and grade as required, taking necessary precautions to prevent any spillages or spoiling of the premises / public roads during removal & transporting the soil, providing & installing dewatering system etc. complete, as directed. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
4.2 |  | Rate for soft / weathered rock excavation shall include for disposing the rock by mechanical means including, breaking the rocks, concrete / old masonry etc. in foundation /trenches to the required size if required, for easy conveyance, etc complete, as directed. The quoted rate shall be deemed to have considered the above stipulation. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.3 |  | Note :- 1) The contractor shall arrange to obtain necessary permission from the local authority & make payment to the local authority if any, for the disposal of drainage water. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.4 |  | 2) All treasures, artifacts, precious metals, utensils, whether ancient or modern, found during the excavation work, should be handed over by the Contractor to the Employer. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.5 |  | 3) The contractor should also make sure that the wheels / tyres of the hauling vehicle are adequately cleaned with water prior to leaving the site so that no mud / dirt tracks are smudged during transit outside the site premises. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.6 |  | In all types of ordinary and hard soils -These shall include all kinds of soils containing kankar, sand, silt, murrum and/or shingle, gravel, clay, loam, peat, ash, shale, etc., | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.7 |  | Rate shall include for excavating selected top soil and storing it in plot area for its reuse as directed by the Engineer | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.7.1 |  | Upto 3 mtr from existing ground level | [8 empty] | Cum. | 505 | 600 | 0 | 29.664 | 0 | 0 | 629.664 | 317980
5 |  | Providing and laying in position ready mixed cement concrete manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix for all PCC Works, cement concrete of M-15 Grade using graded stone aggregates of maximum 20mm nominal size obtained from approved quarry, coarse sand conforming to latest IS : 383 and cement as per approved design mix proportions conforming to latest IS : 456 including | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.1 |  | providing & mixing of admixtures in recommended proportions as per IS 9103 to accelerate / retard setting of concrete, improve workability without impairing strength and durability, including pumping of ready mixed cement concrete from transit mixer to site of laying, including the cost of centring & shuttering, finishing to required levels, curing, dewatering, roughening, removal of spills etc.complete all as per the directions of the Engineer. Rate also shall include lift charges and scaffolding for all levels and heights etc. complete as directed by the Engineer. (Inserts, pipe embedments, pipe sleeves etc. will be measured and paid separately). | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.2 |  | Below capping beams in shore piling works | [8 empty] | Cum. | 8 | 5200 | 0 | 257.088 | 0 | 0 | 5457.088 | 43657
6 |  | Providing and laying in position ready mixed cement concrete manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix for all RCC Works, cement concrete of M-25 Grade using graded stone aggregates of maximum 20mm nominal size obtained from approved quarry, coarse sand conforming to latest IS : 383 and cement as per approved design mix proportions conforming to latest IS : 456 including | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.1 |  | providing & mixing of admixtures in recommended proportions as per IS 9103 to accelerate / retard setting of concrete, improve workability without impairing strength and durability, including pumping of ready mixed cement concrete from transit mixer to site of laying, including finishing to required levels, | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.2 |  | curing, dewatering, roughening and or hacking exposed concrete surfaces for key for plastering, grinding with carborandum stones over concrete spills / level difference in joints of concrete but excluding the cost of centering, shuttering and steel reinforcement. Rate also shall include lift charges and scaffolding for all levels and heights etc. complete as directed by the Engineer. (Inserts, pipe embedments, pipe sleeves etc. will also be paid separately). | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.3 |  | In capping beams | [8 empty] | Cum. | 34 | 6500 | 0 | 321.36 | 0 | 0 | 6821.36 | 231926
7 |  | Providing & fixing in position, centering and shuttering including strutting, scaffolding, propping, bracing or otherwise supporting formwork for concrete items as indicated and deshuttering on specified duration after concreting with all leads and lifts; ; the formwork shall provide all necessary shapes, sizes, joints and any other detail as shown in the drawings and as directed by the Engineer | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.1 |  | In capping beams | [8 empty] | Sqm. | 55 | 500 | 0 | 24.72 | 0 | 0 | 524.72 | 28860
8 |  | Providing and fixing in position following steel reinforcement bars (tested quality) in all categories and for all heights, levels, locations etc. including straightening, cutting, bending, hooking, binding with 18 gauge galvanized binding wires, welding and keeping it in position during concreting by means of stays, blocks, ties, spacers, chairs, hangars, etc. complete as per drawings and as directed by Engineer. The rate shall include for binding wire, cover blocks, labour, loading and un-loading charges, transporation & other incidental charges. Only authorised laps, spacers, hooks and hangars shall be measured and paid for. | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.1 |  | TMT bars conforming to IS-1786, grade Fe-500 | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.1.1 |  | For shore | [8 empty] | MT. | 71 | 68000 | 0 | 3361.92 | 0 | 0 | 71361.92 | 5066696
8.1.2 |  | For capping beams | [8 empty] | MT. | 2 | 68000 | 0 | 3361.92 | 0 | 0 | 71361.92 | 142724
9 |  | Providing, fabricating and fixing MS Liner for piles . | [8 empty] | MT | 71 | 88000 | 0 | 4350.72 | 0 | 0 | 92350.72 | 6556901
10 |  | Providing all material, guniting vertical surface of the piling vertical side and providing skin wall of 50 mm infront of the pile vertical surface. | [8 empty] | sqm | 0 | 6450 | 0 | 318.888 | 0 | 0 | 6768.888 | 0

## COP Facesheet
CHARTERED HOTELS PVT. LTD.
CERTIFICATE OF PAYMENT
COP No.:-HRL/COP/ITDC/132 |  |  |  |  | Date.:- 27/07/2011
Project Code:- |  | 006 |  |  | Not For Payment
Project:- |  | Hyatt Regency Lucknow
Work: | Supply, Installation, testing & commisioning of low side HVAC work |  |  | M/s Perfect Infra Engineering Ltd.
Budget Code:- |  |  |  | #812, Ground floor, 8th A main, 23 cross, 7 sectors, HSR layout, Bangalore 560095
W.O. / P.O. No. & Date:- |  |  | CHPL/002/WO/10-11/0050 Dated : 19.05.2010 | PAN No.:- AABCP0122A
Original W.O. Value:- |  |  | 23805182 | VAT No.:- 29790851674 CST NO- 27740016613C Service Tax No:- ST/M-11/MRS/REGN/757610
WO Amendment No.:- |  |  |  | Invoice No. BLR-007/2010 dated 22 nd Dec 2010
Amended WO/PO Value:-
Sr. No. | Description of Work |  |  | Previous Certified Amount INR | Current Certified Amount INR | Cumulative Certified Amount INR
| Certificate Type:- |  |  |  | I
| Certificate No.:- |  |  |  | 0
A | Work Done Amount
1 | Net Supply and Installation Amount |  |  |  | 0 | 0
2 | VAT |  |  |  | 0 | 0
3 | Service Tax. |  |  |  | 0 | 0
4 | CESS |  |  |  | 0 | 0
5 | Others |  |  |  | 0 | 0
A | Gross Amount for Work Done As per this Bill |  |  | 0 | 0 | 0
B | Recoveries:- |  |  |  | 0
1 | Recovery of Advance (@13.333%) |  |  |  | 0
2 | Recovery of water Charges for Water Consumed |  |  |  | 0
3 | Recovery of Power ( For Electricity Consumed) |  |  |  | 0
4 | Recovery of Monthly Advance ( if any) |  |  |  | 0
5 | Recovery of unsecured Advance( Including Expired Bank Guarantee |  |  |  | 0
6 | Recovery of Insurance Premium |  |  |  | 0
7 | Debit for Non removing of debris |  |  |  | 0
8 | Retention Amount (as per Contract Conditions 5%) |  |  |  | 0
9 | Non Conformity of Concrete |  |  |  | 0
10 | Miscellaneous |  |  |  | 0
B | Total Gross Recoveries:- |  |  | 0 | 0 | 0
C | Other Payments |  |  |  | 0
1 | Mobilisation Advance |  |  |  | 0
2 | Ad-Hoc Certification |  |  |  | 0
3 | Secured Advance |  |  |  | 0
4 | Travel Reimbursement |  |  |  | 0
| Net Amount of Other Payments |  |  |  | 0
| Service Tax ON Other Payments, if any. |  |  |  | 0
C | Gross Amount for Other Payments |  |  | 0 | 0 | 0
| Gross Certified as Per This Bill A-B+C |  |  |  | 0 | 0
Rs. (In Words):
Mode of Payment:-
Remarks:-
Prepared By |  | Checked By |  | Approved By | Approved By
QS and Contracts |  | Asst.GM - Contracts |  | GM -Project | GM -Contracts
CHPL
CHPL
CHPL