## Order
Scenario 2
Local Supply
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY | RATE (can be entered directly or summed up for totals)
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Local supply rate
[13 empty] | Basic Rate | Excise | Subtotal = Basic + Excise | VAT/CST on Subtotal | Octroi / LBT | Insurance | Freight | Packing & Forwarding | Other | Supply Rate Total | AMOUNT
A | 103000000 | Sanitaryware |  | Cera | [6 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 103000000 | European water closet (Standard Closet) 39x36x55 cm |  | Cera | [6 empty] | Nos | 2 | 890 | 0 | 890 | 0 | 0 | 0 | 0 | 0 | 0 | 890 | 1780
2 | 103000000 | White vitreous china square wash basin with Bracket |  | Cera | [6 empty] | Nos | 2 | 244 | 0 | 244 | 0 | 0 | 0 | 0 | 0 | 0 | 244 | 488
3 | 103000000 | Urinal with Sancer | [8 empty] | Nos | 2 | 8395 | 0 | 8395 | 0 | 0 | 0 | 0 | 0 | 0 | 8395 | 16790
4 | 103000000 | C.P. brass angle valve with C.P. wall flange. | [8 empty] | Nos | 8 | 365 | 0 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | 365 | 2920
5 | 103000000 | PVC connection 450 mm long including nuts and washers. | [8 empty] | Nos | 6 | 45 | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 270
6 | 103000000 | Basin Pillar Cock | [8 empty] | Nos | 2 | 560 | 0 | 560 | 0 | 0 | 0 | 0 | 0 | 0 | 560 | 1120
7 | 103000000 | 15mm C.P Female Extension piece 50mm long | [8 empty] | Nos | 6 | 65 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 390
8 | 103000000 | 15mm C.P Female Extension piece 75mm long | [8 empty] | Nos. | 1 | 85 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 85 | 85
9 | 103000000 | 15mm C.P Female Extension piece 25mm long | [8 empty] | Nos. | 2 | 55 | 0 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 110
10 | 103000000 | P.V.C. flushing Cistern | [8 empty] | Nos | 2 | 580 | 0 | 580 | 0 | 0 | 0 | 0 | 0 | 0 | 580 | 1160
11 | 103000000 | 25mm ball valve | [8 empty] | Nos | 1 | 570 | 0 | 570 | 0 | 0 | 0 | 0 | 0 | 0 | 570 | 570
12 | 103000000 | 15mm Health Faucet with pvc tube and hook | [8 empty] | Nos | 2 | 540 | 0 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 540 | 1080
13 | 103000000 | 32mm cp basin Waste Coupling | [8 empty] | Nos | 2 | 135 | 0 | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 135 | 270
14 | 103000000 | 32mm cp brass bottle trap |  | Sintex | [6 empty] | Nos | 2 | 680 | 0 | 680 | 0 | 0 | 0 | 0 | 0 | 0 | 680 | 1360
15 | 103000000 | sintex water tank 500 ltr | [8 empty] | Nos | 1 | 3600 | 0 | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 3600 | 3600
16 | 103000000 | 125mm grating | [8 empty] | Nos | 4 | 35 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 140
17 | 103000000 | wc seat covers | [8 empty] | Nos | 2 | 385 | 0 | 385 | 0 | 0 | 0 | 0 | 0 | 0 | 385 | 770
18 | 103000000 | 15mm Two way Angle valve | [8 empty] | Nos | 2 | 780 | 0 | 780 | 0 | 0 | 0 | 0 | 0 | 0 | 780 | 1560
19 | 103000000 | (Teflon tape) Plumbers Tape | [8 empty] | Nos | 3 | 20 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 60
20 | 103000000 | Wash basin with braket | [8 empty] | Nos | 2 | 880 | 0 | 880 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 1760
21 | 103000000 | 15mm Bib cock | [8 empty] | Nos | 1 | 460 | 0 | 460 | 0 | 0 | 0 | 0 | 0 | 0 | 460 | 460
22 | 103000000 | Dhaga | [8 empty] | Nos | 2 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 10
B | 103000000 | Pipe and Fittings Qty | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 103000000 | PVC lead free pipes and fittings conforming to ASTM Standrads: i) Pipes as per ASTM- D1785-SCH. 40 ii) Fitting as per ASTM-D2467- SCH. 80 | [8 empty] | NIl | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 103000000 | 20mm pipe |  | Astral | [6 empty] | Mtr | 10 | 56 | 0 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 560
2 | 103000000 | 25mm pipe |  | Astral | [6 empty] | Mtr | 6 | 91 | 0 | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 546
3 | 103000000 | 25mm Tee |  | Astral | [6 empty] | Nos | 2 | 25.8 | 0 | 25.8 | 0 | 0 | 0 | 0 | 0 | 0 | 25.8 | 52
4 | 103000000 | 25mm Union |  | Astral | [6 empty] | Nos | 1 | 43.4 | 0 | 43.4 | 0 | 0 | 0 | 0 | 0 | 0 | 43.4 | 43
5 | 103000000 | 25x20mm R/Tee |  | Astral | [6 empty] | Nos | 1 | 24.7 | 0 | 24.7 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7 | 25
6 | 103000000 | 25mm Elbow |  | Astral | [6 empty] | Nos | 4 | 19.4 | 0 | 19.4 | 0 | 0 | 0 | 0 | 0 | 0 | 19.4 | 78
7 | 103000000 | 25mm Tank Nipple |  | Astral | [6 empty] | Nos | 1 | 36.2 | 0 | 36.2 | 0 | 0 | 0 | 0 | 0 | 0 | 36.2 | 36
8 | 103000000 | 20mm Tee |  | Astral | [6 empty] | Nos | 8 | 14.4 | 0 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 14.4 | 115
9 | 103000000 | 20mm Elbow |  | Astral | [6 empty] | Nos | 6 | 11.7 | 0 | 11.7 | 0 | 0 | 0 | 0 | 0 | 0 | 11.7 | 70
10 | 103000000 | 20X15 Brass Tee |  | Astral | [6 empty] | Nos | 2 | 100 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 200
11 | 103000000 | 20x15mm brass Elbow |  | Astral | [6 empty] | Nos | 8 | 98 | 0 | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 784
12 | 103000000 | 20mm brass Elbow |  | Astral | [6 empty] | Nos | 2 | 110 | 0 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 220
13 | 103000000 | 15mm FTA |  | Astral | [6 empty] | Nos | 2 | 80.3 | 0 | 80.3 | 0 | 0 | 0 | 0 | 0 | 0 | 80.3 | 161
14 | 103000000 | 15mm brass Elbow |  | Astral | [6 empty] | Nos | 2 | 84.7 | 0 | 84.7 | 0 | 0 | 0 | 0 | 0 | 0 | 84.7 | 169
15 | 103000000 | 25X20 R/Socket |  | Astral | [6 empty] | Nos | 1 | 11.5 | 0 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5 | 12
16 | 103000000 | GI Hooks(15mm & 20mm) |  | Astral | [6 empty] | Kg | 15 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 75
17 | 103000000 | PVC Solvent |  | Astral | [6 empty] | Kg | 0.5 | 155 | 0 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 155 | 78
18 | 103000000 | PVC Long plug | [8 empty] | Nos | 8 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 40
19 | 103000000 | 25x20mm R/Socket | [8 empty] | Nos | 1 | 22.7 | 0 | 22.7 | 0 | 0 | 0 | 0 | 0 | 0 | 22.7 | 23
20 | 103000000 | 25mm pvc MTA | [8 empty] | Nos | 1 | 28 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 28
21 | 103000000 | 15mm CI Plug | [8 empty] | Nos | 1 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5
C | 103000000 | UPVC PIPE AND FITTINGS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 103000000 | 110mm Pipe |  | Prince | [6 empty] | Mtr | 20 | 150 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 3000
2 | 103000000 | 90mm Pipe |  | Prince | [6 empty] | Mtr | 3 | 105 | 0 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 315
3 | 103000000 | 110mm Y junction Plan |  | Prince | [6 empty] | Nos | 1 | 180 | 0 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 180 | 180
4 | 103000000 | 110mm 90° Bend |  | Prince | [6 empty] | Nos | 2 | 85 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 85 | 170
5 | 103000000 | 110 P TRAP |  | Prince | [6 empty] | Nos | 3 | 185 | 0 | 185 | 0 | 0 | 0 | 0 | 0 | 0 | 185 | 555
6 | 103000000 | 90mm N TRAP |  | Prince | [6 empty] | Nos | 1 | 90 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90
7 | 103000000 | 40mm PVC Pipe |  | Prince | [6 empty] | Mtr | 8 | 52 | 0 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 416
8 | 103000000 | 40mm Elbow |  | Prince | [6 empty] | Nos | 6 | 25 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 150
9 | 103000000 | 40mm 45° Elbow |  | Prince | [6 empty] | Nos | 2 | 25 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 50
10 | 103000000 | 50MM PVC Elbow | [8 empty] | Nos | 2 | 35 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 70
11 | 103000000 | 50 MM PVC PIPE | [8 empty] | Nos | 1 | 85.28 | 0 | 85.28 | 0 | 0 | 0 | 0 | 0 | 0 | 85.28 | 85
12 | 103000000 | UPVC Solvent |  | Prince | [6 empty] | Kg | 0.5 | 305 | 0 | 305 | 0 | 0 | 0 | 0 | 0 | 0 | 305 | 153
13 | 103000000 | M Seal | [8 empty] | Nos | 1 | 10 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10
14 | 103000000 | Urinal Partition | [8 empty] | Nos | 1 | 1200 | 0 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 1200 | 1200

## Certification
Scenario 2
Local Supply |  |  | COP-R001 | [22 empty] | 32279.38 | 0 | 32279.38 | 0 | 0 | 0 | 0 | 0 | 0 | 32279
|  | UNIQUE IDENTIFIERS | [8 empty] | UOM | QTY | RATE (can be entered directly or summed up for totals)
Sr. No. | Item Range Code | Description | Area | Make | Model No./ Product Code | Tag/ Item No. | ITC HS Code | Country of Origin | Port of Loading | User defined column |  |  | Local supply rate | [10 empty] | COP Cerification
[13 empty] | Basic Rate | Excise | Subtotal = Basic + Excise | VAT/CST on Subtotal | Octroi / LBT | Insurance | Freight | Packing & Forwarding | Other | Supply Rate Total | AMOUNT | COP Percentage | COP Quantity | COP Basic | COP Excise | COP SUB Total=COP Basic+COP Excise | COP VAT/CST on Subtotal | COP Octroi / LBT | COP Insurance | COP Freight | COP Packing & Forwarding | COP Other | Final COP Amount
A | 103000000 | Sanitaryware |  | Cera | [6 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 103000000 | European water closet (Standard Closet) 39x36x55 cm |  | Cera | [6 empty] | Nos | 2 | 890 | 0 | 890 | 0 | 0 | 0 | 0 | 0 | 0 | 890 | 1780 | 100 | 2 | 1780 | 0 | 1780 | 0 | 0 | 0 | 0 | 0 | 0 | 1780
2 | 103000000 | White vitreous china square wash basin with Bracket |  | Cera | [6 empty] | Nos | 2 | 244 | 0 | 244 | 0 | 0 | 0 | 0 | 0 | 0 | 244 | 488 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 103000000 | Urinal with Sancer | [8 empty] | Nos | 2 | 8395 | 0 | 8395 | 0 | 0 | 0 | 0 | 0 | 0 | 8395 | 16790 | 100 | 1 | 8395 | 0 | 8395 | 0 | 0 | 0 | 0 | 0 | 0 | 8395
4 | 103000000 | C.P. brass angle valve with C.P. wall flange. | [8 empty] | Nos | 8 | 365 | 0 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | 365 | 2920 | 100 | 2 | 730 | 0 | 730 | 0 | 0 | 0 | 0 | 0 | 0 | 730
5 | 103000000 | PVC connection 450 mm long including nuts and washers. | [8 empty] | Nos | 6 | 45 | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 270 | 100 | 5 | 225 | 0 | 225 | 0 | 0 | 0 | 0 | 0 | 0 | 225
6 | 103000000 | Basin Pillar Cock | [8 empty] | Nos | 2 | 560 | 0 | 560 | 0 | 0 | 0 | 0 | 0 | 0 | 560 | 1120 | 100 | 2 | 1120 | 0 | 1120 | 0 | 0 | 0 | 0 | 0 | 0 | 1120
7 | 103000000 | 15mm C.P Female Extension piece 50mm long | [8 empty] | Nos | 6 | 65 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 390 | 100 | 4 | 260 | 0 | 260 | 0 | 0 | 0 | 0 | 0 | 0 | 260
8 | 103000000 | 15mm C.P Female Extension piece 75mm long | [8 empty] | Nos. | 1 | 85 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 85 | 85 | 100 | 1 | 85 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 85
9 | 103000000 | 15mm C.P Female Extension piece 25mm long | [8 empty] | Nos. | 2 | 55 | 0 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 110 | 100 | 2 | 110 | 0 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 110
10 | 103000000 | P.V.C. flushing Cistern | [8 empty] | Nos | 2 | 580 | 0 | 580 | 0 | 0 | 0 | 0 | 0 | 0 | 580 | 1160 | 100 | 2 | 1160 | 0 | 1160 | 0 | 0 | 0 | 0 | 0 | 0 | 1160
11 | 103000000 | 25mm ball valve | [8 empty] | Nos | 1 | 570 | 0 | 570 | 0 | 0 | 0 | 0 | 0 | 0 | 570 | 570 | 100 | 1 | 570 | 0 | 570 | 0 | 0 | 0 | 0 | 0 | 0 | 570
12 | 103000000 | 15mm Health Faucet with pvc tube and hook | [8 empty] | Nos | 2 | 540 | 0 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 540 | 1080 | 100 | 2 | 1080 | 0 | 1080 | 0 | 0 | 0 | 0 | 0 | 0 | 1080
13 | 103000000 | 32mm cp basin Waste Coupling | [8 empty] | Nos | 2 | 135 | 0 | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 135 | 270 | 100 | 2 | 270 | 0 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 270
14 | 103000000 | 32mm cp brass bottle trap |  | Sintex | [6 empty] | Nos | 2 | 680 | 0 | 680 | 0 | 0 | 0 | 0 | 0 | 0 | 680 | 1360 | 100 | 2 | 1360 | 0 | 1360 | 0 | 0 | 0 | 0 | 0 | 0 | 1360
15 | 103000000 | sintex water tank 500 ltr | [8 empty] | Nos | 1 | 3600 | 0 | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 3600 | 3600 | 100 | 1 | 3600 | 0 | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 3600
16 | 103000000 | 125mm grating | [8 empty] | Nos | 4 | 35 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 140 | 100 | 4 | 140 | 0 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 140
17 | 103000000 | wc seat covers | [8 empty] | Nos | 2 | 385 | 0 | 385 | 0 | 0 | 0 | 0 | 0 | 0 | 385 | 770 | 100 | 2 | 770 | 0 | 770 | 0 | 0 | 0 | 0 | 0 | 0 | 770
18 | 103000000 | 15mm Two way Angle valve | [8 empty] | Nos | 2 | 780 | 0 | 780 | 0 | 0 | 0 | 0 | 0 | 0 | 780 | 1560 | 100 | 2 | 1560 | 0 | 1560 | 0 | 0 | 0 | 0 | 0 | 0 | 1560
19 | 103000000 | (Teflon tape) Plumbers Tape | [8 empty] | Nos | 3 | 20 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 60 | 100 | 3 | 60 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 60
20 | 103000000 | Wash basin with braket | [8 empty] | Nos | 2 | 880 | 0 | 880 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 1760 | 100 | 2 | 1760 | 0 | 1760 | 0 | 0 | 0 | 0 | 0 | 0 | 1760
21 | 103000000 | 15mm Bib cock | [8 empty] | Nos | 1 | 460 | 0 | 460 | 0 | 0 | 0 | 0 | 0 | 0 | 460 | 460 | 100 | 1 | 460 | 0 | 460 | 0 | 0 | 0 | 0 | 0 | 0 | 460
22 | 103000000 | Dhaga | [8 empty] | Nos | 2 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 10 | 100 | 2 | 10 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 10
B | 103000000 | Pipe and Fittings Qty | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 103000000 | PVC lead free pipes and fittings conforming to ASTM Standrads: i) Pipes as per ASTM- D1785-SCH. 40 ii) Fitting as per ASTM-D2467- SCH. 80 | [8 empty] | NIl | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 103000000 | 20mm pipe |  | Astral | [6 empty] | Mtr | 10 | 56 | 0 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 560 | 100 | 10 | 560 | 0 | 560 | 0 | 0 | 0 | 0 | 0 | 0 | 560
2 | 103000000 | 25mm pipe |  | Astral | [6 empty] | Mtr | 6 | 91 | 0 | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 546 | 100 | 6 | 546 | 0 | 546 | 0 | 0 | 0 | 0 | 0 | 0 | 546
3 | 103000000 | 25mm Tee |  | Astral | [6 empty] | Nos | 2 | 25.8 | 0 | 25.8 | 0 | 0 | 0 | 0 | 0 | 0 | 25.8 | 52 | 100 | 2 | 51.6 | 0 | 51.6 | 0 | 0 | 0 | 0 | 0 | 0 | 52
4 | 103000000 | 25mm Union |  | Astral | [6 empty] | Nos | 1 | 43.4 | 0 | 43.4 | 0 | 0 | 0 | 0 | 0 | 0 | 43.4 | 43 | 100 | 1 | 43.4 | 0 | 43.4 | 0 | 0 | 0 | 0 | 0 | 0 | 43
5 | 103000000 | 25x20mm R/Tee |  | Astral | [6 empty] | Nos | 1 | 24.7 | 0 | 24.7 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7 | 25 | 100 | 1 | 24.7 | 0 | 24.7 | 0 | 0 | 0 | 0 | 0 | 0 | 25
6 | 103000000 | 25mm Elbow |  | Astral | [6 empty] | Nos | 4 | 19.4 | 0 | 19.4 | 0 | 0 | 0 | 0 | 0 | 0 | 19.4 | 78 | 100 | 3 | 58.2 | 0 | 58.2 | 0 | 0 | 0 | 0 | 0 | 0 | 58
7 | 103000000 | 25mm Tank Nipple |  | Astral | [6 empty] | Nos | 1 | 36.2 | 0 | 36.2 | 0 | 0 | 0 | 0 | 0 | 0 | 36.2 | 36 | 100 | 1 | 36.2 | 0 | 36.2 | 0 | 0 | 0 | 0 | 0 | 0 | 36
8 | 103000000 | 20mm Tee |  | Astral | [6 empty] | Nos | 8 | 14.4 | 0 | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 14.4 | 115 | 100 | 7 | 100.8 | 0 | 100.8 | 0 | 0 | 0 | 0 | 0 | 0 | 101
9 | 103000000 | 20mm Elbow |  | Astral | [6 empty] | Nos | 6 | 11.7 | 0 | 11.7 | 0 | 0 | 0 | 0 | 0 | 0 | 11.7 | 70 | 100 | 6 | 70.2 | 0 | 70.2 | 0 | 0 | 0 | 0 | 0 | 0 | 70
10 | 103000000 | 20X15 Brass Tee |  | Astral | [6 empty] | Nos | 2 | 100 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 200 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 103000000 | 20x15mm brass Elbow |  | Astral | [6 empty] | Nos | 8 | 98 | 0 | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 784 | 100 | 6 | 588 | 0 | 588 | 0 | 0 | 0 | 0 | 0 | 0 | 588
12 | 103000000 | 20mm brass Elbow |  | Astral | [6 empty] | Nos | 2 | 110 | 0 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 220 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 103000000 | 15mm FTA |  | Astral | [6 empty] | Nos | 2 | 80.3 | 0 | 80.3 | 0 | 0 | 0 | 0 | 0 | 0 | 80.3 | 161 | 100 | 1 | 80.3 | 0 | 80.3 | 0 | 0 | 0 | 0 | 0 | 0 | 80
14 | 103000000 | 15mm brass Elbow |  | Astral | [6 empty] | Nos | 2 | 84.7 | 0 | 84.7 | 0 | 0 | 0 | 0 | 0 | 0 | 84.7 | 169 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 103000000 | 25X20 R/Socket |  | Astral | [6 empty] | Nos | 1 | 11.5 | 0 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5 | 12 | 100 | 1 | 11.5 | 0 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 12
16 | 103000000 | GI Hooks(15mm & 20mm) |  | Astral | [6 empty] | Kg | 15 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 75 | 100 | 15 | 75 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 75
17 | 103000000 | PVC Solvent |  | Astral | [6 empty] | Kg | 0.5 | 155 | 0 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 155 | 78 | 100 | 0.35 | 54.25 | 0 | 54.25 | 0 | 0 | 0 | 0 | 0 | 0 | 54
18 | 103000000 | PVC Long plug | [8 empty] | Nos | 8 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 40 | 100 | 8 | 40 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 40
19 | 103000000 | 25x20mm R/Socket | [8 empty] | Nos | 1 | 22.7 | 0 | 22.7 | 0 | 0 | 0 | 0 | 0 | 0 | 22.7 | 23 | 100 | 1 | 22.7 | 0 | 22.7 | 0 | 0 | 0 | 0 | 0 | 0 | 23
20 | 103000000 | 25mm pvc MTA | [8 empty] | Nos | 1 | 28 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 28 | 100 | 1 | 28 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 28
21 | 103000000 | 15mm CI Plug | [8 empty] | Nos | 1 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 100 | 1 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5
C | 103000000 | UPVC PIPE AND FITTINGS | [8 empty] | Nil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 103000000 | 110mm Pipe |  | Prince | [6 empty] | Mtr | 20 | 150 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 3000 | 100 | 9 | 1350 | 0 | 1350 | 0 | 0 | 0 | 0 | 0 | 0 | 1350
2 | 103000000 | 90mm Pipe |  | Prince | [6 empty] | Mtr | 3 | 105 | 0 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 315 | 100 | 3 | 315 | 0 | 315 | 0 | 0 | 0 | 0 | 0 | 0 | 315
3 | 103000000 | 110mm Y junction Plan |  | Prince | [6 empty] | Nos | 1 | 180 | 0 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 180 | 180 | 100 | 1 | 180 | 0 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 180
4 | 103000000 | 110mm 90° Bend |  | Prince | [6 empty] | Nos | 2 | 85 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 85 | 170 | 100 | 2 | 170 | 0 | 170 | 0 | 0 | 0 | 0 | 0 | 0 | 170
5 | 103000000 | 110 P TRAP |  | Prince | [6 empty] | Nos | 3 | 185 | 0 | 185 | 0 | 0 | 0 | 0 | 0 | 0 | 185 | 555 | 100 | 2 | 370 | 0 | 370 | 0 | 0 | 0 | 0 | 0 | 0 | 370
6 | 103000000 | 90mm N TRAP |  | Prince | [6 empty] | Nos | 1 | 90 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 100 | 1 | 90 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 90
7 | 103000000 | 40mm PVC Pipe |  | Prince | [6 empty] | Mtr | 8 | 52 | 0 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 416 | 100 | 6 | 312 | 0 | 312 | 0 | 0 | 0 | 0 | 0 | 0 | 312
8 | 103000000 | 40mm Elbow |  | Prince | [6 empty] | Nos | 6 | 25 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 150 | 100 | 6 | 150 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 150
9 | 103000000 | 40mm 45° Elbow |  | Prince | [6 empty] | Nos | 2 | 25 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 50 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 103000000 | 50MM PVC Elbow | [8 empty] | Nos | 2 | 35 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 70 | 100 | 2 | 70 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 70
11 | 103000000 | 50 MM PVC PIPE | [8 empty] | Nos | 1 | 85.28 | 0 | 85.28 | 0 | 0 | 0 | 0 | 0 | 0 | 85.28 | 85 | 100 | 1 | 85.28 | 0 | 85.28 | 0 | 0 | 0 | 0 | 0 | 0 | 85
12 | 103000000 | UPVC Solvent |  | Prince | [6 empty] | Kg | 0.5 | 305 | 0 | 305 | 0 | 0 | 0 | 0 | 0 | 0 | 305 | 153 | 100 | 0.25 | 76.25 | 0 | 76.25 | 0 | 0 | 0 | 0 | 0 | 0 | 76
13 | 103000000 | M Seal | [8 empty] | Nos | 1 | 10 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 100 | 1 | 10 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 10
14 | 103000000 | Urinal Partition | [8 empty] | Nos | 1 | 1200 | 0 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 1200 | 1200 | 100 | 1 | 1200 | 0 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 1200

## COP Facesheet
CHARTERED HOTELS PVT. LTD.
CERTIFICATE OF PAYMENT
COP No.:-HAMPI/280 |  |  |  |  | Date.:- 27/07/2011
Project Code:- |  | 002 |  |  | Not For Payment
Project:- |  | Hyatt Place -Hampi
Work: | Supply, Installation, testing & commisioning of low side HVAC work |  |  | M/s Perfect Infra Engineering Ltd.
Budget Code:- |  |  |  | #812, Ground floor, 8th A main, 23 cross, 7 sectors, HSR layout, Bangalore 560095
W.O. / P.O. No. & Date:- |  |  | CHPL/002/WO/10-11/0050 Dated : 19.05.2010 | PAN No.:- AABCP0122A
Original W.O. Value:- |  |  | 6905433 | VAT No.:- 29790851674 CST NO- 27740016613C Service Tax No:- ST/M-11/MRS/REGN/757610
WO Amendment No.:- |  |  |  | Invoice No. BLR-007/2010 dated 22 nd Dec 2010
Amended WO/PO Value:-
Sr. No. | Description of Work |  |  | Previous Certified Amount INR | Current Certified Amount INR | Cumulative Certified Amount INR
| Certificate Type:- |  |  |  | I
| Certificate No.:- |  |  |  | R003
A | Work Done Amount
1 | Net Supply Amount |  |  |  | 32279.38 | 32279.38
2 | Net Installation Amount |  |  |  | 0 | 0
3 | Net Total Amount |  |  |  | 0 | 0
4 | VAT |  |  |  | 0 | 0
5 | Service Tax. |  |  |  | 0 | 0
A | Gross Amount for Work Done As per this Bill |  |  | 0 | 32279.38 | 32279.38
B | Recoveries:-
1 | Recovery of Advance (@13.333%)
2 | Recovery of water Charges for Water Consumed
3 | Recovery of Power ( For Electricity Consumed)
4 | Recovery of Monthly Advance ( if any)
5 | Recovery of unsecured Advance( Including Expired Bank Guarantee
6 | Recovery of Insurance Premium
7 | Debit for Non removing of debris
8 | Retention Amount (as per Contract Conditions 5%)
9 | Non Conformity of Concrete |  |  |  | 0
10 | Miscellaneous
B | Total Gross Recoveries:- |  |  | 0 | 0 | 0
C | Other Payments |  |  |  | 0
1 | Mobilisation Advance |  |  |  | 0
2 | Ad-Hoc Certification |  |  |  | 0
3 | Secured Advance |  |  |  | 0
4 | Travel Reimbursement
| Net Amount of Other Payments |  |  |  | 0
| Service Tax ON Other Payments, if any. |  |  |  | 0
C | Gross Amount for Other Payments |  |  | 0 | 0 | 0
| Gross Certified as Per This Bill A-B+C |  |  |  | 32279.38 | 32279.38
Rs. (In Words):
Mode of Payment:-
Remarks:-
Prepared By |  | Checked By |  | Approved By | Approved By
QS and Contracts |  | Asst.GM - Contracts |  | GM -Project | GM -Contracts
CHPL
CHPL
CHPL